TATA MEMORIAL HOSPITAL

PURCHASE DEPARTMENT

TMH/IMP/2015-16/E01		             CORRIGENDUM-I             		                 25/05/2015

Public Tender for “Diagnostic Display System Workstation Digitizer”

Pre bid meeting held on 12/05/2015 at 02.30 pm

Venue : Digital Library, Main Bldg. Ground flr, TMH, Mumbai

The following table summarizes the major points discussed and the responses that could potentially warrant an amendment in the tender document.

| S. N. | Point No. | Item | Original Tender Language | Clarification/ Justification/ Modified |
| --- | --- | --- | --- | --- |
|  | Technical Specifications |  |  |
| 1 | 1 | Coronis Uniti | CoronisUniti 12MP diagnostic display system for PACS and breast imaging (Qty. 2 Nos.) | 12MP diagnostic display system for PACS and breast imaging (Qty. 2 Nos.) or equivalent. Monitor should be dual and paired, which is approved by ACR , approved by US FDA |
|  |  |  |  IPS screen technology with Dura light Brilliance LED backlight. Active screen diagonal 853.44 mm (33.6”) |  IPS screen technology with Dura light Brilliance LED backlight or equivalent. Active screen diagonal 853.44 mm (33.6”) |
| 2 | 2 | Coronis Fusion | Coronis Fusion 6MP 30” Fusion display with LED backlight (Qty.- 6 Nos.) | 6MP 30” Fusion display with LED backlight (Qty.- 6 Nos.) 12MP diagnostic display system for PACS and breast imaging (Qty. 2 Nos.) or equivalent. Monitor should be dual and paired, which is approved by ACR , approved by US FDA |
| 3 | 3 | 21” Clinical display | 21" clinical display for clinical image review MDRC 2221 (Qty. – 9 Nos.) | 21" clinical display for clinical image review (Qty. – 9 Nos.) |
| 4 | 4 |  | Make – VIDAR, Model - Diagnostic PRO Advantage Film Digitizer | Make – VIDAR or equivalent , Model - Diagnostic PRO Advantage Film Digitizer |
| 5 | 5 |  | 3D PCIe 3-head display controller- MXRT 55000 (ForCoronis 6MP) (Qty.- 6 Nos.) | 3D PCIe 3-head display controller for 6MP or equivalent (Qty.- 6 Nos.) |
| 6 | 6 |  | High-end 3D PCIe 4-head display controller-MXRT 7500 (CoronisUniti) (Qty 2 Nos.) | High-end 3D PCIe 4-head display controller- for 12 MP or equivalent (Qty. 2 Nos.) |
| 7 | 7 | Workstation Licenses | GE Centricity PACS 3.0 RA 1000 workstation Licenses : | GE Centricity PACS 3.0 RA 1000 workstation Licenses : |
|  |  |  | For 8 new workstations. | To quote Licence per workstation |
| 8 | 11 | Installations | The supplier should document installed base globally and in India, as well as references, white papers and/or references for the concerned 12MP/6MP BARCO display monitors and 2MP Clinical display system in India. | The supplier should document installed base globally and in India, as well as references, white papers and/or references for the concerned 12MP/6MP display monitors and 2MP Clinical display system in India. |
| 9 | 12 | Complete software obsolescence | Complete software obsolescence for 5 years – new released version in every RSNA to be upgraded without additional cost. | Complete software obsolescence for 5 years – newly released version in every RSNA to be upgraded without additional cost. |
|  |  | Complete software obsolescence | PGI: Complete software obsolescence for 2+7 years after commissioning – version upgrades that do not need change in hardware. Research collaboration to be offered for any additional modules. | Complete software obsolescence for 5+2 years after commissioning – version upgrades that do not need change in hardware. Research collaboration to be offered for any additional modules. |
| 10 | 13 | Training | Training : Training for TMH Biomedical engineer and IT service staff for Barco LED display systems. | Training : Training for TMH Biomedical engineer and IT service staff for LED display systems. |
| 11 |  | Workstation specifications |  |
|  |  | Display card (Optional) | Configuration Option 1 ATI W2100 (Dual port) | Configuration Option 1 ATI W2100 (Dual port) or equivalent |
| 12 | 1 | Foot Notes | Vendor should quote separately for Configuration Option 1 and Configuration Option 2 and also separately for Display Card ATI W2100 (Dual port) | Vendor should quote separately for workstation Configuration Option 1 and Configuration Option 2 and also separately for Display Card ATI W2100 or equivalent (Dual port) |
|  | 2 | Newly added |  | Vendors to quote separately for each items. L1 criteria mentioned at Serial # 5 Special General terms and conditions in original tender remains unchanged. |
| 13 | Sr # 7 | UNDERTAKING Point No.2. | I, the undersigned also hereby undertake to assure and promise to provide the spare parts within reasonable time for operation of the aforesaid equipment without any charge during the warranty period of 2 years and thereafter I will make available all the spare parts and consumables on the agreed price during the period of annual maintenance contract at least for the period of 5 years from the date of completion of the warranty period at the negotiated rate allowing discount on the price list of the company, authenticated copy of which will be submitted for your record. | I, the undersigned also hereby undertake to assure and promise to provide the spare parts within reasonable time for operation of the aforesaid equipment without any charge during the warranty period of 5 years and thereafter I will make available all the spare parts and consumables on the agreed price during the period of annual maintenance contract at least for the period of 2 years from the date of completion of the warranty period at the negotiated rate allowing discount on the price list of the company, authenticated copy of which will be submitted for your record. |

| S.N. | Original Tender clause | Amended/ Revised tender clause |
| --- | --- | --- |
| 1 | EMD Amount Rs.58000/- | EMD Amount Rs.250000/- |
| 2 | Last Date & time of Issuing tender document : 25/05/2015 upto 4.30 p.m. | Last Date & time of Issuing tender document : 01/06/2015 upto 4.30 p.m. |
| 3 | Last date & time of submission : 27/05/2015 upto 12.00 noon | Last date & time of submission : 03/06/2015 upto 12.00 noon |
| 4 | Date & time of opening technical bid : 27/05/2015 at 2.00 p.m. | Date & time of opening technical bid : 03/06/2015 at 2.00 p.m. |