## Sheet1
LT03
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Dept : | Pathology (Sangrur, Punjab)
Technical specification of Embedding unit with medite - Qty- 01 no.
Please quote all the models including the state of art equipment which meets the basic minimum specification.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name :
Make :
1 | Unique 3-modular system - for an ergonomical working
2 | High variety by combining the modular units
3 | Rapid embedding of tissue specimens in paraffin, great for large quantities
4 | Optional equipped with new heated forceps, hot only at the tip
5 | The dispenser unit TES 99.250 with its large working area and the heat protective hand rest provides comfortable embedding with all kinds of systems and tissue specimens of any size.
6 | Capacity of paraffin tank: 3,5 liters
7 | Temperature: +30°C to +70 °C
8 | Connections for 2 forceps EBP 50
9 | The thermal unit TES 99.600 serves for the warming up and storage of all kinds of embedding molds and cassettes. It is divided in two compartments: one for molds and one for liquid paraffin with removable stainless steel tray.Temperature warming chamber:+30° C to +70° C
10 | The largest cold plate with a powerful aggregate easily reaches a temperature of -15° C in very short time. Its working surface has space for 110 blocks.Temperature:+15° C to -10° C
11 | Cold plate-The compact model with small foot print for laboratories with limited table space. This cool unit has a capacity of up to 80 blocks that can be chilled at a temperature adjustable down to -10° C.Temperature:+15° C to -10°
12 | Warranty : 2 years
13 | Quote CMC for 8 years
14 | Please submit price list of spares (if any)
1) If warranty and Free services conditions are not adhered, TMC reserves right to reject the offer.
2) Please mention whether UPS/stabliliser is required for the equipment. If so should be included
in the offer.
3) Only Yes or No should be mentioned in compliance report and additional inform,ation should
in remarks column.