## Sheet1
LT16
LT15
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
DEPT. HBCH, Sangrur
Technical Specification of : Syringe Pump Qty. 5 Nos.
Please quote all the models including the state of the art equipment which meets the basic minimum
specifications
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
1 | Syringe pump should accept 10, 20, 30 and 50/60 ml syringes.
2 | Should have twin CPU to ensures safe & accurate delivery of critical drugs
3 | Occlusion pressure detection by loadcell
4 | Occlusion level selection on front panel
5 | Rechargeable Battery
6 | Battery capacity indicator
7 | Various Alarms
8 | Volume Infused Display
9 | Should be portable and easy to carry.
10 | Should have facility to diffuse volume in 0.1 to 999.9 ml in increments of 0.1 ml
11 | Warranty : 2 years
12 | Free Service 5 Years
13 | Please submit price list of spares (if any)
1) If warranty and Free AMC conditions are not adhered, TMC reserves right to reject the offer.
2) Please mention whether UPS/stabliliser is required for the equipment. If so should be included in the offer.
3) Only Yes or No should be mentioned in compliance report and additional inform,ation should in remarks column.