## Sheet1
LT16
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
DEPT. HBCHRC, Vizag & HBCH, Sangrur
Technical Specification of : BINOCULAR EDUACTIONAL MICROSCOPE Qty. 1
Please quote all the models including the state of the art equipment which meets the basic minimum
specifications
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
1 | Stand: Sturdy & Robert stand with anti rust Materials. Extended base with hand rests for enhanced stability and comfort
2 | Viewing Bodies: Binocular tube, 45° inclined, 360° rotatable, Interpipullary distance 54- 74mm
3 | Eyepieces: Wide Field focusable paired eyepiece WF 10x/18mm, with foldable eye guard, lockable, antifungus Coating
4 | Nosepiece: Quadruple nosepiece (Ball bearing type) with rubber grip
5 | Nosepiece: Quadruple nosepiece (Ball bearing type) with rubber grip
6 | Mechanical Stage: Mechanical stage with Co-axial drive, highly smooth on Ball Slides, Stainless Steel Holders for Slide 75 x 50mm Movement.
7 | Condenser: Sub-stage Abbe condenser NA 1.25 with aspheric lens. Iris diaphragm with snap-in blue filter. Rack and pinion movements on metal guides.
8 | Focusing: Co-axial coarse and fine focusing on ball drive system for smooth movement.
9 | Illumination: illumination with variable illumination control. Up to 2,000 hours of Halogen lamp life with extra 4 bulbs.
10 | Electrical: Input 220V-240V AC - with removable imported cord. Packed in Styrofoam box, with operation manual, dust cover, cleaning cloth, power cord.
11 | Warranty: 2 years
12 | Free service: 5 years
13 | Spares parts : Specify
1) If warranty and Free AMC conditions are not adhered, TMC reserves right to reject the offer.
2) Please mention whether UPS/stabliliser is required for the equipment. If so should be included in the offer.
3) Only Yes or No should be mentioned in compliance report and additional inform,ation should in remarks column.