## RU COMMENTS
Serial # 4
TMH/TMH/2021-22/CAP/PT/0131
DEPARTMENT: Medical Physics, TMH
Technical Specifications of "TLD Dosimetry system with accessories and TL material)" OTY : 01 No
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr.No. | Parameters | Specifications | Compliance |  | Remarks
|  |  | Yes | No
A | TLD Reader Description
1 | Photomultiplier tube type | Specify
2 | Radiation Type (Photons, Electrons, Neutrons) | Specify
3 | High voltage Stability | Specify
4 | Operating Temperature | Specify
5 | Heating response time (ms) | Specify
6 | Typical cycle time for detector | Specify
7 | Heating Method (Multiple, programmable, linear heating cycles include pre-read anneal, acquire and post-read anneal cycles) | Specify
8 | Reference Light | Specify
9 | Heating temperature capability | Specify
10 | High quality & stable PMT | Specify
11 | Vibration mode (0-25 Sec) | Specify
12 | Repeatability | Specify
13 | Warm Up Time | Specify
14 | Ambient Light Exposure | Specify
15 | Programmable temperature profile | Specify
16 | Power Supply requirement | 220/240 VAC ±10%, 50 Hz
17 | Dark current (signal) correction | Specify
18 | Sensitivity | Specify
19 | Compatibility with TLD powder, disc, chips, micro chips, etc. | Specify
20 | Planchets (Changable) | Specify
21 | Humidity | Specify
22 | Linearity | Specify
23 | Unit size (h x w x l) | Specify
24 | Weight in Kg. | Specify
25 | Other accessories | Specify
26 | Control Computer (Advanced Laptop or desktop) | Specify
27 | Software | Glow curve analysis and dose calculation algorithm
B | TLD material and accessories
1 | TLD Material form (Powder, chips, disk, rods and micro cubes) | Specify
2 | Batch Uniformity for TLD mterial | (<±30% from the factory standard)
3 | Measurement Dose Range | 10 µGy to 1 Gy (linear), 1 Gy to 20 Gy (supralinear)
4 | Dosimeter Reusability | (> 300)
5 | Dynamic Range | Specify
6 | TLD powder Despenser | Specify.
C | Old System Buy back (Rexon TLD reader- USA; Model: UL 320; Year of Installation: 2005) | Specify
D | Service & Support (On site installation and training) | Specify
E | Warranty: | 2 Years
F | AMC | AMC @ maximum 2% per annum for 8 years on Ex-works cost after warranty
1) | If 2 years warranty, AMC @ maximum 2% per annum for 8 years on Ex-works cost after warranty and buyback conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2) | Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
3) | Only Yes or No should be mentioned in compliance report and additional information should in remarks column.