## Sheet1
Serial # 4
TMH/VIZ/2022-23/CAP/PT/0053
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Dept-Flow & Morpho Lab, HBCHRC Vizag
Technical Specification- Cell Counter (5 part CBC Analyzer )on Reagent Rental contract for 3 years plus 1 year extendable Qty- 1
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sn | Item Description | Compliance |  | Remarks
|  | Yes | No
Make-
Model-
Year of Introduction-
Probable end of support-
1 | Should be fully automated hematology analyser based on impedance and flow cytometry technology or equivalent. It should be capable of handling at least 200 CBC samples per day.
2 | Should give at least the following parameters:
WBC count, RBC count, Hemoglobin,Hematocrit, MCV, MCH, MCHC, RDW, PLT,MPV,PDW, NRBC percentage and absolute counts, NEUTROPHIL percentage & absolute counts, EOSINOPHIL percentage & absolute count, BASOPHIL percentage & absolute count, MONOCYTE percentage & absolute count, LYMPHOCYTE percentage & absolute count with direct measurement of each leukocyte population.
3 | Should be capable of performing automated Reticulocyte analysis and enumerate immature reticulocyte fraction as well as mean reticulocyte volume.
4 | Should offer automated body fluid analysis for: CSF, Serous fluids and Synovial fluids
5 | Should have Automation System with Auto loader and be able to perform analysis in different modes such as CBC, CBC/Diff, CBC/Diff/Retic, CBC/Retic or Retic Only.
6 | Auto loader should have ability to load atleast 100 tubes at a time with automatic mixing and cap-piercing.
7 | Should have a positive tube identification with bar code be integrated at time of aspiration.
8 | Should have the following minimum linearity range:
a | WBC: 0.02 to 300.00 x10^3CELLS/µL
b | RBC: 0.00 to 7.00 x10^6CELLS/µL
c | HGB: 0.00 to 22.0 g/dl
d | PLT: 5 to 3000.0 x10^3CELLS/µl
e | RET: 0.20 to 24.0 % (Please mention in % only).
9 | Should have a throughput of not less than 100 samples per hour in the CBC/Diffmode and should require not more than 200µl.
10 | Should have system to avoid short sampling.
11 | Should have minimum routine maintenance with automatic Electronic Aperture Cleaning after every cycle.
12 | Must have bi-directional communication capability with laboratory information system.
13 | Should have storage of atleast 10000 numeric patient results, 5000 including graphics, unlimited number of user-definable and patient control files.
14 | should be CE/FDA/BIS/ICMED approved
15 | All reagents and quality control materials as per instrument manual and manufacturer policy should be quoted.
16 | Latest PC Configuration - Processor : One Intel Xeon or equivalent Processor. Memory of 16 GB RAM, Hard Drive - 500GB
17 | Interface Software corresponding with the equipment with accessories.
18 | HP Printer to be provided along with the unit.
19 | Power supply- 100-240VAC, 50-60Hz.
20 | Please submit price list of all consumables and QC materials.
21 | Should perform yearly calibration/Validation and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards( As per NABL norms). To submit SOPs for PMS at the time of installation/commissioning.
22 | Performance certificates of IQ,OQ,PQ tests to be submitted at the time of installation/commissioning.
23 | Should be supplied with standard make UPS
24 | Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
25 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.(Quote Rate)
26 | Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
27 | Please specify footprint size & weight.
28 | Demo of the quoted model , will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
29 | Predispatch inspection at factory will be required if desired by authorities.
30 | Equipment maintenance( inclusive of spares replacement,calibration, validation,consumable spares,preventive maintenance,breakdown calls) to be carried out by vendor at their own cost during the period of RR contract
31 | Please visit the site to check whether quoted model can be accomodated in the available space.
32 | Please specify power consumption.
33 | Unpacking and shifting the consignment to the installation site is to be included in the scope of supply. Bidder/manufacturer/authorized service provider should take responsibility to lift /shift the consignment from unloading site to the installtion site. Unloading site shall be Stores department, HBCHRC Vizag. If needed ,bidder has to arrange for the laboures at no charge to HBCHRC,Vizag.(Before submitting the quotation,bidders may visist HBCHRC Vizag to Know unloading and installtion site.
34 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
35 | Response Time: Should not be more than 12 hrs from lodging a breakdown complaint on toll free or by email.
36 | Back to back assurance to be taken by the supplier from OEM to supply spares for minimum 10 years and to be submitted.
Criteria for RR
Cost per test
1) | Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
2) | Only Yes or No should be mentioned in compliance report and additional information should in remarks column.