## Sheet1
TMH/TMH/2022-23/CAP/LT/0019
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Department - Medical Graphics, TMH.
Technical specification of "Digital Photographic Camera with accessories", Quantity 1 no.
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications.
Sr. No. | Item Description | Compliance |  | Remarks
|  | Yes | No
CAMERA
1 | Effective Megapixels 45.7 Mpx and Above
2 | Sensor Size : Full Frame 35.9 mm x 23.9mm
3 | Storage media : XQD card and SDHC and SDXC type
4 | ISO Sensitivity : ISO 64 to 25600 and above
5 | Movie : 4K (UHD) Video
6 | Monitor Type : Tilting TFT touch Sensitive LCD
7 | Lens : 24-70(S)Z with FTZ converter
8 | Format : Full frame compatible
9 | Minimum Aperture F/2.8
10 | Maximum Aperture F/22
11 | Autofocus : Yes with Silent View Motor
12 | Internal Focusing : Yes
13 | Flash : Guide number 34.5m/113ft.(at 35mm)55m/180 ft standard illumination patter at 100 ISO
14 | Flash Eposure Control – TTL Balanced Fill Flash CLS Compatible
1 | Warranty : 2 years
1. If 2 years warranty and buyback conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2. Please mention whether UPS/ stabiliser is required for the equipment. If so should be included in the offer.
3. Only Yes or No should be mentioned in compliance report and additional information in remarks column.