## Final
TMH/TMH/2022-23/CAP/LT/0022
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Department - Medical Physics, TMH.
Technical Specification of "Daily QA Check Device", Quantity 2 nos.
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications.
Sr. No. | Description Of Item | Details | Compliance |  | Remarks
|  |  | Yes | No
1 | Parameters:
| Energy Range | Photons: CO 60 to 25 MV
Electrons: 6MeV to 25Mev
| Nominal Range of Dose Rate | Please Specify with units
| Temperature & Pressure Correction factor | Automatic
| Interface | Cable or Wireless
| Measuring Field Size | 10 x 10 cm2 & 20 x 20 cm2
| Number of Detectors | Please Specify
| Detector Type | Please Specify
| Response Time | Please Specify
2 | Measurement Mode:
| Output Constancy | Photon (FF & FFF) and Electron Beam
| Profile Analysis ( Flatness & Symetry) | Photon (FF & FFF) and Electron Beam
| Energy Verification | Photon (FF & FFF) and Electron Beam
| Radiation field size | Photon (FF & FFF) and Electron Beam
3 | Hardware and Software:
| Software and licenses Upgrade & Update | Please Specify
| Laptop | Latest Configuration
| Operating System | Please Specify
| Internal Memorry | Please Specify
| Processor | i7 & above
| RAM | 16 GB & more
| Hard Disk | Please Specify
| Extenal Hard Disk | 1 TB
| Graphics | Please Specify
| Temperature Range | Please Specify
| Humidity Range | Please Specify
| Air Pressure Range | Please Specify
| Power Supply | Please Specify
| Dimension | Please Specify
| Weight | Please Specify
4 | Warranty | 2 years
1. If 2 years warranty and buyback conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2. Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
3. Only Yes or No should be mentioned in compliance report and additional information in remarks column.