## Sheet1
TMH/TMH/2022-23/CAP/LT/0025
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Technical specification of "Platelet Incubator with Agitator", Quantity 1 no.
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Year of Probable end of support:
1 | Provision for storage of minimum 180 RDPs or 60 SDP bags
2 | Temperature maintenance of 22 +/- 2 degrees C
3 | Digital temperature indicator with 7 days circular chart recorder with 100 additional charts
4 | Forced air refrigeration system
5 | Audible and visual low/high temperature alarm
AGITATOR
6 | Flat bed agitator, side to side motion with 60 - 70 strokes / minute
7 | Perforated removable drawers for uniform circulation
8 | Heavy duty motor
9 | Push button switch with pause function for temporary stoppage of motion
10 | Front opening with transparent outer door for clear visibility
11 | Inner chamber - stainless steel / powder coated. Outer chamber powder coated
12 | Transparent outer door for clear visibility
13 | Should perform yearly calibration/Validation (2nos) and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards( As per NABL/NABH norms). To submit SOPs for PMS at the time of installation/commissioning.
14 | Performance certificates of IQ,OQ,PQ tests to be submitted at the time of installation/commissioning. (For Labs)
15 | Should be supplied with standard make UPS or stabilizer.
16 | Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
17 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.(Quote Rate)
18 | Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
19 | Please specify footprint size & weight.
20 | Demo of the quoted model , will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
21 | Predispatch inspection at factory will be required if desired by authorities.
22 | Please visit the site to check whether quoted model can be accomodated in the available space.
23 | Should be CE/FDA/BIS/ICMED approved
24 | The Quoted model should be have minimum 10 installation in INDIA unless it is a new equipment - For eqpt more than 10 Lakhs
25 | Unpacking and shifting the consignment to the installation site is to be included in the scope of supply. Bidder/manufacturer/authorized service provider should take responsibility to lift /shift the consignment from unloading site to the installtion site. Unloading site shall be Stores department, Main Building Basement,TMH. If needed ,bidder has to arrange for the laboures at no charge to TMH.(Before submitting the quotation,bidders may visist TMH to Know unloading and installtion site.
26 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
27 | Response Time: Should not be more than 06 hrs from lodging a breakdown complaint on toll free or by email.
28 | Warranty- 2 years
29 | CMC- 5% of Ex-works cost per annum will be considered for all bidders for 8 years after warranty
30 | Back to back assurance to be taken by the supplier from OEM to supply spares for minimum 10 years and to be submitted.
31 | Buyback offer: Against old platelet agitator and incubator (Model- forma) (1 no.)
1. If 2 years warranty, CMC maximum 5% per annum for 8 years on ex-works cost after warranty and buyback conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2. Please mention whether UPS / Stabilizer is required for the equipment. If so, should be included in the offer.
3. Only yes or no should be mentioned in the compliance report and additional info in remarks column.