## Sheet1
Serial # 4
TMH/TMH/2022-23/CAP/PT/0005
TATA MEMORIAL HOSPITAL
PURCHASE DEPARTMENT
Dept: Histopathology, TMH
Technical Specifications : Slide Filing Cabinet, Qty: 24 nos
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Probable end of support:
1 | Should have convenient storage and retrieval of microscopic slides
2 | Should be constructed from soft stainless steel grade 304 with high durability
3 | Each drawer should have a back stop
4 | Slide should be stored vertically in each drawer
5 | Capacity should be minimum 63000 slides in one cabinet
6 | Each cabinet should have Total 36 drawers ( 9 rows X 4 columns) with 11 compartments in each drawer
7 | Size of the each drawer should be W 15.5'' X D 21'' X H 5.25"
8 | Size of the each compartment should be 1.25"
9 | Size of each cabinet should be W 68" X D 24" X H 43.5"
10 | Should have writable socket/stripes on drawers for labeling
11 | Centralized locking system for all drawers
12 | Please specify its weight.
13 | Visit the site to check if the quoted model can be accommodated in available space
14 | Should be tailored as per sample. Vendor should contact the user prior to filing a tender
15 | Specify pre installation requirements (electrical, HVAC etc)
16 | Should perform yearly calibration/validation and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards( As per NABL norms). To submit SOPs for PMS at the time of installation/commissioning.
17 | Performance certificates of IQ,OQ,PQ tests to be submitted at the time of installation/commissioning ; if desired by the end user. (Optional)
18 | Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
19 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.
20 | Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
21 | Please specify footprint size & weight.
22 | Demo of the 'Quoted model' , will be mandatory, after the opening of the technical bid within ten days and prior to opening of financial bid. This is for technical evaluation.
23 | All communications should be with Purchase Dept. Only technical queries of technical team (including users)to be replied for technical evaluation.
24 | Predispatch inspection at factory will be required if desired by authorities.
25 | Please visit the site to check whether quoted model can be accomodated in the available space.
26 | Please specify power consumption.
27 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
28 | Response Time: Should not be more than 6 hrs from lodging a breakdown complaint on toll free or by email.
29 | Warranty- 2 years
30 | AMC- AMC maximum 2% of Ex works cost per annum will be consided for 8 years after warranty
31 | Back to back assurance to be taken by the supplier from OEM to supply spares for minimum 10 years and to be submitted.
1) | If 2 years warranty and AMC maximum 2% of Ex works cost per annum will be consided for 8 years after warranty . conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2) | Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
3) | Only Yes or No should be mentioned in compliance report and additional information should in remarks column.