## Vizag TMH
Serial # 4
TMH/TMC/2022-23/CAP/PT/0011
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Dept: : Nursing Dept , HBCHRC Vizag
Technical Specifications : Patient Monitors (for wards) - Qty: 09 Nos
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Probable end of support:
1 | Should be preconfigured Low end hemodynamic monitor to major all vital parameters of patients in the wards .
2 | Should have screen size of 8 inches or more.
3 | Should display minimum 4 waveforms simultaneously.
4 | Should be able to used for adult and pediatric application.
5 | Standard server should include ECG, SpO2, NIBP.
6 | ECG: 3 lead ECG should be standard.
7 | SpO2: Adult and pediatric mode should be available with each monitor.
8 | Respiration: Through ECG or equivalent
9 | Should have mouse/remote/knob along with touch screen option for access and input.
10 | Should have wall mount or shelf mount facility, accessories required should be supplied.
11 | Ability to connect to clinical informatics solutions, hospital network, serial interface, printer etc.
12 | Audio/visual alarms should be available.
13 | Battery backup for at least 60 mins should be available.
14 | Should be CE/FDA/BIS/ICMED approved.
Accessories supply:
Should be supplied with all standard accessories for standard server and modules for all abover features/parameters to be functional for both adult and pediatric applications with standard accessories with each monitor as:
Standard accessories:
a | 3 lead ECG cable - one each
b | Adult NIBP cuff - one each
c | Adult and Pediatric SpO2 Probe- one each
d | Wall Mount- One each
List of all standard and optional accessories to be mentioned and annexed along with the individual costing.
Should perform yearly calibration and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards( As per NABL norms). To submit SOPs for PMS at the time of installation/commissioning.
Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
Please specify footprint size & weight.
Demo of the quoted model , will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
Predispatch inspection at factory will be required if desired by authorities.
Please visit the site to check whether quoted model can be accomodated in the available space.
Please specify power consumption.
Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
Response Time: Should not be more than 12 hrs from lodging a breakdown complaint on toll free or by email.
Warranty: 2 years
AMC- 2% of FOB cost per annum will be considered for all bidders for 8 years after warranty
Back to back assurance to be taken by the supplier from the OEM to supply spares for minimum 10 years and to be submitted .
1) | If 2 years warranty and AMC 2% of ex works cost per annum will be considered for all bidders for 8 years after warranty . conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2) | Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
3) | Only Yes or No should be mentioned in compliance report and additional information should in remarks column.
Note: Please refer 2nd worksheet for technical specification of TMH

## TMH
Serial # 4
TMH/TMC/2022-23/CAP/PT/0011
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Department: Nursing, TMH
Technical Specifications : Patient Monitors (Basic 5 Para) (Qty: 05 nos)
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Probable end of support:
1 | Should be preconfigured Low end hemodynamic monitor to major all vital parameters of patients in the wards .
2 | Should have screen size of 8 inches or more.
3 | Should display minimum 4 waveforms simultaneously.
4 | Should be able to used for adult and pediatric application.
5 | Standard server should include ECG, SpO2, NIBP, RR and Temp.
6 | ECG: 3 lead ECG should be standard.
7 | SpO2: Adult and pediatric mode should be available with each monitor.
8 | Respiration: Through ECG or equivalent.
9 | Temperature: Surface temperature probe.
10 | Should have mouse/remote/knob with or without touch screen option for access and input.
11 | Should have wall mount or shelf mount facility, accessories required should be supplied.
12 | Ability to connect to clinical informatics solutions, hospital network, serial interface, printer etc.
13 | Audio/visual alarms should be available.
14 | Battery backup for at least 60 mins should be available.
15 | Should be CE/FDA/BIS/ICMED approved.
16 | Accessories supply:
Should be supplied with all standard accessories for all above features/parameters to be functional for both adult and pediatric applications with standard accessories with each monitor as:
17 | Standard accessories:
a | 3 lead ECG cable - one each
b | Adult NIBP cuff - one each
c | Adult and Pediatric SpO2 Probe- one each
d | Skin temperature probe- 1 each
e | Wall mount- 1 each
Additional Accessories:
a | Adult SpO2 probe - 1 each
16 | Should perform yearly calibration/Validation and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards( As per NABL/NABH norms). To submit SOPs for PMS at the time of installation/commissioning.
17 | Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
18 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.(Quote Rate)
19 | Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
20 | Please specify footprint size & weight.
21 | Demo of the quoted model , will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
22 | Predispatch inspection at factory will be required if desired by authorities.
23 | Please visit the site to check whether quoted model can be accomodated in the available space.
24 | Should be CE/FDA/BIS/ICMED approved
25 | Please specify power consumption.
26 | Unpacking and shifting the consignment to the installation site is to be included in the scope of supply. Bidder/manufacturer/authorized service provider should take responsibility to lift /shift the consignment from unloading site to the installtion site. Unloading site shall be Stores department, Main Building Basement,TMH. If needed ,bidder has to arrange for the laboures at no charge to TMH.(Before submitting the quotation,bidders may visist TMH to Know unloading and installtion site.
27 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
28 | Response Time: Should not be more than 06 hrs from lodging a breakdown complaint on toll free or by email.
29 | Warranty- 2 years
30 | AMC- 2% of Ex-works cost per annum will be considered for all bidders for 8 years after warranty
31 | Back to back assurance to be taken by the supplier from OEM to supply spares for minimum 10 years and to be submitted.
32 | Buyback: Against old monitors -Make L& T (Model: Planet 55) 05 nos
1) | If 2 years warranty and AMC 2% of ex works cost per annum will be considered for all bidders for 8 years after warranty . conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2) | Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
3) | Only Yes or No should be mentioned in compliance report and additional information should in remarks column.
Note: Please refer 3rd worksheet for technical specification of TMH

## TMH Nursing
Serial # 4
TMH/TMC/2022-23/CAP/PT/0011
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Department: Nursing, TMH
Technical Specifications : Patient Monitors (Qty: 22 nos)
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Probable end of support:
1 | Should be preconfigured Low end hemodynamic monitor to major all vital parameters of patients in the wards .
2 | Should have screen size of 8 inches or more.
3 | Should display minimum 4 waveforms simultaneously.
4 | Should be able to used for adult and pediatric application.
5 | Standard server should include ECG, SpO2, NIBP
6 | ECG: 3 lead ECG should be standard.
7 | SpO2: Adult and pediatric mode should be available with each monitor.
8 | Respiration: Through ECG or equivalent.
9 | Should have mouse/remote/knob with or without touch screen option for access and input.
10 | Should have wall mount or shelf mount facility, accessories required should be supplied.
11 | Ability to connect to clinical informatics solutions, hospital network, serial interface, printer etc.
12 | Audio/visual alarms should be available.
13 | Battery backup for at least 60 mins should be available.
14 | Should be CE/FDA/BIS/ICMED approved.
Accessories supply:
Should be supplied with all standard accessories for all above features/parameters to be functional for both adult and pediatric applications with standard accessories with each monitor as:
Standard accessories:
a | 3 lead ECG cable - one each
b | Adult NIBP cuff - one each
c | Adult and Pediatric SpO2 Probe- one each
d | Wall Mount- 1 each
Additional Accessories:
a | Adult SpO2 probe - 1 each
16 | Should perform yearly calibration/Validation and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards( As per NABL/NABH norms). To submit SOPs for PMS at the time of installation/commissioning.
Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
18 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.(Quote Rate)
19 | Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
20 | Please specify footprint size & weight.
21 | Demo of the quoted model , will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
22 | Predispatch inspection at factory will be required if desired by authorities.
23 | Please visit the site to check whether quoted model can be accomodated in the available space.
24 | Should be CE/FDA/BIS/ICMED approved
25 | Please specify power consumption.
26 | Unpacking and shifting the consignment to the installation site is to be included in the scope of supply. Bidder/manufacturer/authorized service provider should take responsibility to lift /shift the consignment from unloading site to the installtion site. Unloading site shall be Stores department, Main Building Basement,TMH. If needed ,bidder has to arrange for the laboures at no charge to TMH.(Before submitting the quotation,bidders may visist TMH to Know unloading and installtion site.
27 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
28 | Response Time: Should not be more than 06 hrs from lodging a breakdown complaint on toll free or by email.
29 | Warranty- 2 years
30 | AMC- 2% of Ex-works cost per annum will be considered for all bidders for 8 years after warranty
31 | Back to back assurance to be taken by the supplier from OEM to supply spares for minimum 10 years and to be submitted.
32 | Buyback: Against old monitors -Make L& T (Model: Planet 55) Qty: 22 nos
1) | If 2 years warranty and AMC 2% of ex works cost per annum will be considered for all bidders for 8 years after warranty . conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2) | Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
3) | Only Yes or No should be mentioned in compliance report and additional information should in remarks column.