## Sheet1
|  | Serial # 4 |  |  | Serial # 4
TMH/SAN/2022-23/CAP/PT/0012
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Dept: Histopathology, HBCHRC Sangrur
Technical Specifications : Automatic Tissue Stainer (Low Throughput), Qty: 01 Nos
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item |  |  | Compliance |  | Remarks
|  |  |  | Yes | No
Model Name:
Make:
Year of Introduction:
Probable end of support:
1 | Should be a low throughput staining machine for multiple staining operations.
2 | Should have atleast 30 or more nos of slides per rack.
3 | Specimen slide throughput should be atleast 150-200 slides per hour. | 200-250 | 150-200
4 | Should have load capacity of atleast 60 slides with minimum 2 loading stations. | 2 loading stations - 30 slides per rack - 60 slides | 2 loading stations - 30 slides per rack - 60 slides
5 | Should have minimum 15 reagent stations and 3 water stations. | 18 reagent stations and 5 water stations. | 19 reagent stations and 3 water stations.
6 | Should have Integrated 1 drying stations/ oven with temperature settings from 40˚C to 65˚C should be available. | 1 | 1
7 | Minimum 2 programs should be available. | 2 | 20
8 | Should have simultaneous staining of various different staining protocols. | √ | √
9 | Continuous and slow agitation facility should be available. | √ | √
10 | Gentle vibration to slide rack during lifting to teduce any carry over contamination. | √ | √
11 | Should have keypad control for programming and setting the parameters | √ | √
12 | Should have continuous loading and unloading of slides via rack entry and exit door. | √ | √
13 | Programmable up and down movement of robotic arm. | √ | √
14 | Should have fume hood with filter to remove hazardous fumes. | √ | √
15 | Timer for adjusting time for each station. | √ | √
16 | Alarm system should be available for completion of each program. | √ | √
17 | Warning alarm in case of any error during operation. | √ | √
18 | UPS of adequate capacity to be provided if required/ should have inbuilt battery backup. | √ | √
19 | Power supply- 100-240VAC, 50-60Hz | √ | √
20 | Should be CSA or CE marked or USFDA or BIS or ICMED approved | √ | √
21 | General Terms:
22 | Should perform yearly calibration/validation and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards( As per NABL norms). To submit SOPs for PMS at the time of installation/commissioning.
23 | Performance certificates of IQ,OQ,PQ tests to be submitted at the time of installation/commissioning ; if desired by the end user. (Optional)
24 | Should be supplied with standard make UPS with atleast 30 mins backup.
25 | Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
26 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.
27 | Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
28 | Please specify footprint size & weight.
29 | Demo of the 'Quoted model' , will be mandatory, after the opening of the technical bid within ten days and prior to opening of financial bid. This is for technical evaluation.
30 | Predispatch inspection at factory will be required if desired by authorities.
31 | Please visit the site to check whether quoted model can be accomodated in the available space.
32 | Please specify power consumption.
33 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
34 | Response Time: Should not be more than 06 hrs from lodging a breakdown complaint on toll free or by email.
35 | Warranty- 2 years
36 | CMC- 5% of Ex-work cost per annum will be considered for all bidders for 8 years after warranty
37 | Back to back assurance to be taken by the supplier from OEM to supply spares for minimum 10 years and to be submitted.
1) | If 2 years warranty and CMC Maximum 5% of Ex works cost per annum will be consideed for 8 years after warranty . conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2) | Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
3) | Only Yes or No should be mentioned in compliance report and additional information should in remarks column.