## Sheet1
Serial # 4
TMH/TMH/2021-22/CAP/PT/0112
TATA MEMORIAL HOSPITAL
PURCHASE DEPARTMENT
DEPARTMENT: Pathology TMH
Technical Specifications of Automated Immunostainer Reagent Rental contract for 4 years plus 1 year extendable, Qty: 07 Nos
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sn | Description of item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Probable end of support:
1 | System should be fully-automated Immuno histochemistry staining system.
2 | It should be fully automated walk way slide container with option of delay start for IHC, ISH (DDISH/CISH) dual staining.
3 | The System should be able to do 'Companion Diagnostic Assays'with FDA approved kis and antibodies. Please specify number and details of this.
4 | Should perform on-board Baking, Dewaxing, Antigen Retrieval, Staining and Counter stain.
5 | Should be capable to do Immuno Histo Chemistry (IHC) and In-situ hybridization(ISH).
6 | Should be capable of doing Dual IHC (Double staining).
7 | System should be open for Primary Antibodies.
8 | Should have compatibility for parafin (dewaxed) as well as cytology smears.
9 | Should be Xylene free.
10 | It should have the capacity to run at least 30 slides at a time.
11 | Should have fast turnaround time (TAT), pls specify the time.
12 | It should have on board mixing of Chromogens.
13 | System should have the inbuilt specific technology to uniformly distribute the reagent over the tissue section.
14 | Should have Liquid level sensor ensuring tracking and monitoring of reagents. Alerts when reagents are low or waste is full.
15 | Instrument should have both low pH and high pH for antigen retrieval.
16 | Should have facility of individual programming for each slide with any protocol.
17 | The Stainer should have the facility for minimum reagent usage of around 100 μl / test.
18 | Should have operating temperature from 35 degree C to 100 degree C.
19 | Real time monitoring of individual steps during the run along with tracebility.
20 | Flexible control software with protocol editor.
21 | System should have the facility of LIS connectivity (optional).
22 | The equipment should be FDA/CE/BIS/ICMED approved.
23 | UPS of adquate capacity to be provided.
24 | Vendor to specify the number of installations of the quoted model in regional cancer centres across India and their end user feedback.
25 | Track record of the quoted model - Year of introduction, installations etc
26 | Calibration (with traceability ) certificate every year.
27 | Equipment maintenance (Inclusive of spares replacement, calibration, validation, consumable spares, preventive maintenance, breakdown calls) to be carried out by vendor at their own cost during the period of RR contract. To submit SOPs for PMS at the time of installation/commissioning.
Criteria for RR:
Vendor to offer cost per test
1. Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
2. Only Yes or No should be mentioned in compliance report and additional information should in remarks column.