## Sheet
Serial # 4
TMH/TMH/2021-22/CAP/PT/0113
TATA MEMORIAL HOSPITAL
PURCHASE DEPARTMENT
Dept Name: Transfusion Medicine, TMH
Technical Specifications: NUCLEIC ACID TESTING SYSTEM on Reagent Rental basis for 1 year plus 1 year extendable Qty: 01 no
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Year of Probable end of support:
1 | The system should be fully integrated and fully automated (walk away) compact system.
2 | The assay menu should perform 4 tests in a single tube HIV 1 & 2 RNA, HCV RNA and HBV DNA.
3 | Target Amplification by Transcription Mediated Amplification (TMA) or Polymerase chain reaction (PCR) technology.
4 | Complete sample traceability with positive sample identification (should have both bar code and manual options).
5 | At least 24 hr calibration stability and 60 hr open reagent on board stability.
6 | Should allow operator continuous access to samples and reagents throughout run.
7 | System should perform continuous loading of samples and continuous reporting. System should also allow batch processing.
8 | Should have STAT testing ability with loading, processing and displaying results of priority samples out of order/ queue including provision for even a single sample.
9 | The bidder shall be responsible to provide and update the latest software to operate, to backup data, to provide and install interfacing software for LIS. Shall have provision for remote data back-up.
10 | All essential accessories like electronic pipettes, bar code scanners, bar code printers, centrifuge machine and other essential equipment and storage refrigerators of kits for 3 months should be provided by the concerned firm.
11 | The bidder shall supply a complete protocol for validation of the system in relation to Installation Qualification (IQ), Operational Qualification (OQ) and Performance Qualification (PQ). The bidder shall provide sufficient number of suitably qualified personnel and make available support to assist the validation processes and acceptance evaluation. Also should include comprehensive training program for staffs.
12 | Test procedure should be validated for highest available accuracy and precision of detection of HBV-DNA, HCV-RNA and HIV RNA in donor plasma or serum either through European CE IVD approved or US FDA approved NAT method licensed for Blood Donor screening.
13 | Test kit should consist of ready to use reagents. Each kit should contain positive and negative controls, calibrators, internal controls and external control samples and all other necessary reagents for the completion of the NAT procedure.
14 | Analytical sensitivity (95% LOD) of the complete assay performed on system will be the best in the NAT field and updated as and when newer assays are marketed.
15 | The bidder is required to provide proven data on analytical sensitivity, specificity, reproducibility/repeatability and other relevant parameters of assay performance.
16 | The bidder shall maintain stock of one month’s supply of reagents, at the time supply reagents shall be within 60% of their shelf life (calculated from the printed dates of manufacture and expiry) at the time of delivery. Any expired and used reagents shall be replaced.
17 | The bidder should provide all requisite civil and electrical modifications as well as any other work required to adapt the area for NAT laboratory. The details of all proposed work for modification should be submitted with the bid.
18 | The automation system provided must have the following features and must provide documentary evidence that it can be achieved
a) Positive sample identification with barcode scanning
b) For manually entered samples, IDs shall be made possible
c) Disposable filtered tips must be used to prevent carry over and cross contamination of samples
d) Leaks, fibrin clots and bubble during aspiration and dispense cycles of samples and reagent must be detected and documented.
e) True level sensing or insufficient volume detection for sample and reagent must be detected and documented.
19 | System must have throughput of minimum 300 samples in 8 hours - 12 hours.
20 | Reagent identification via barcode shall verify the correct reagent placement, lot match and expiration information
21 | Assay Performance: It should be able to detect accurately the following viral markers of
a) HIV: All HIV variants including subtypes
b) HBV genotype A, B, C, D, E, F, G, H and pre core mutants
c) HCV genotype 1, 2, 3, 4, 5, and 6
Shall provide analytical sensitivity and specificity for each marker in terms of viral load
22 | Should supply the suitable UPS (with voltage stabilizing capability and back up supply for at least 2 hours with full load)
23 | Automation system should come with onboard laser printer and supply of ink cartridges for hard copy print out of NAT testing results.
24 | Free supply of 100 kits for training and validation.
25 | In case of system breakdown, the firm must bear the responsibility to test all the blood samples elsewhere on same platform and to provide the test results on the same day.
26 | The assay kits must have necessary approvals from CDSCO India.
27 | Invalid test results will not be charged by the bidder and in such case the bidder has to bear the cost of tests and the kits as well
28 | Equipment maintenance (Inclusive of spares replacements, calibration, validation, consumables spares, PMS, breakdown calls ) to be carried out by vendor at their own cost during contract period.
CRITERIA FOR RR:
Vendor to offer cost of consumables and reagents required per reportable test.
1. Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
2. Only Yes or No should be mentioned in compliance report and additional information should in remarks column.