## Sheet1
TMH/MUL/2021-22/CAP/PT/0115
TATA MEMORIAL HOSPITAL
PURCHASE DEPARTMENT
Department - Transfusion Medicine, HBCHRC Mullanpur.
Technical Specification of "Centrifuge Table Top(Tube size: 13*75mm)", Quantity 5 nos.
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Item description | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Year of Probable end of support:
1 | Model : Centrifuge compact bench top model
2 | Capable of 100 – 3500 RPM/RCF more than 2000 g
3 | Biochemical application : Serum & plasma separation
4 | Digital display: Microprocessor controlled digital display for speed in rpm/time/RCF
5 | Minimum 60 samples
6 | Brushless free induction drive
7 | Adaptors for putting regular size test tube 13x75 mm (vacutainers with cap).
8 | Centrifuging chamber of stainless steel
9 | Should have spin time of atleast 1 min to 30 minutes
10 | Power lid locking
11 | Quick entry foil key pad
12 | Easy exchangeable rotors
13 | Easy to read, digital display
14 | Easy entry of parameters
15 | Safety lid locking and holding during rotor run
16 | Lid dropping protection
17 | Imbalance switch off function
18 | Viewing port in lid
19 | Emergency lid lock release
20 | Automatic rotor recognition
21 | Motor overheating protection.
22 | Instruments should have calibration certificate confirming to NABL & should perform calibration every six months traceable to national standards.
23 | Should be FDA/CE certified/BIS/ISO certified/ICMED approved
24 | Should perform yearly calibration and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards.
25 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.
26 | Please specify pre installation requirements (electrical, HVAC etc.)
27 | Please specify footprint size & weight.
28 | Demo of the quoted model , will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
29 | Please visit the site to check whether quoted model can be accomodated in the available space.
30 | Please specify power consumption.
31 | All Necessary standards and norms. (As applicable).
32 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
33 | Response Time: Should not be more than 12 hrs from lodging a breakdown complaint on toll free or by email.
1 | Warranty : 2 years
2 | AMC : Maximum 2% per annum for 8 years on ex-works cost after warranty
1. If 2 years warranty, AMC maximum 2% per annum for 8 years on ex-works cost after warranty and buyback conditions wherever applicable are not adhered to, TMC right to reject the offer.
2. Please mention whether UPS/ Stabilizer is required for the equipment. If so, should be included in the offer.
3. Only yes or no should be mentioned in the compilance report and additional info in remarks column.