## Sheet1 (2)
Serial # 4
TMH/MUL/2021-22/ CAP/PT/0134
TATA MEMORIAL HOSPITAL
PURCHASE DEPARTMENT
Dept Name: Biochemistry,HBCHRC Mullanpur
Technical Specifications: SP & IF Electrophoresis machine on Reagent Rental basis for 3 years plus 1 year extendable, Qty- 01 No
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sn | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Year of Probable end of support:
A) | Sample Application :
1 | Should have applicators 6,7,15 or 18 samples for 7,15,30 or 54 gels and 1,2,4 or 9 IF/BJ gels
2 | System should have disposable microporous applicators.
3 | Optimized application utilizing vertical movement.
4 | Application should be automated which is controlled through software
B) | Migration,Incubation,Drying
1 | Kindly mention the number of migration programs.
2 | Automatic stop fuction should be there with respect to time or volt hour.
3 | Kindly mention the voltage, current & power regulation for following:-
A) Standard Module B) Iso -localisation module
4 | Incubation temperature should be controlled by peltier system.
5 | There shouls be additional heater or heating elements for drying purpose.
C) | Staining,Destaining,Drying
1 | Kindly mention the number of progarms for stainig & washing.
2 | Staining/Destaining compartment should have level detectors & contructed by composite material.
3 | Entry & exit of liquids should be controlled by a 10 way valve.
4 | Gear pump should be of magnetic driven type.
5 | Drying procedure should be carried out by convection heater with tangential air flow.
D) | Reading System
1 | Gel reading should be done by transmission of light.
2 | Gel holder should be there for singel gel.
3 | Reading system should have homogeneous light source with long life LED diodes.
4 | Sensor should be of CCD type with high resolution.
5 | Bi directional measurement with 16 bit data processing for images.
6 | Autoamtic image position correction should be there.
7 | Excellent signal to noise ratio with rapid reading &data processing time.
8 | It should take less than a minute to scan 54 protein gel.
9 | Threre should be direct visualisation of the gel image.
E) | General Specifications
1 | Migration & stainig compartment should have lid lock system for safety purpose.
2 | Audio/Visual alarms should be there for test & control progarms.
3 | There should be a facility of software upgradation through SD card port or serial port.
4 | System should be controlled by touch screen LCD TFT (around 7") color display.
F) | Software
1 | Facility to detect reading zone automaticaly.
2 | Centering & alignment of elctrophoretic patterns should be done automatically.
3 | It should have fraction identification.
4 | Detection of minima & fractions.
5 | Facility for baseline modification & curve overlay.
6 | Quality control program should be there.
7 | Recall & review of patienthistory, including curveand result display,from demographic search criteria.
8 | There should be facility of unlimited storage of curve results and gel images through SQL client or database server.
G) | Computer Requirement For Software
1 | Processor 2 GHz CPU ( single or multi processor/dual core )
2 | 1 GB RAM
3 | Hard disk 160 GB.
4 | CD reader/writer.
5 | 17" LCD color display.
6 | Windows XP (SP3)
7 | With color printer.
8 | 1 USB, 1 Ethernet (RJ -45), 1 VGA port , 2 RS 232 serial pots (COM)
General Terms:
1 | Equipment maintenance (Inclusive of spares replacement, calibration, validation, consumable spares, preventive maintenance, breakdown calls) to be carried out by vendor at their own cost during the period of RR contract. To submit SOPs for PMS at the time of installation/commissioning.
2 | Performance certificates to be submitted at the time of installation / commissioning.
3 | Should be supplied with standard make UPS with atleast 30 mins backup.
4 | Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
5 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.
6 | Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
7 | Please specify footprint size & weight.
8 | Demo of the quoted model, will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
9 | Predispatch inspection at factory will be required if desired by authorities.
10 | Please visit the site to check whether quoted model can be accomodated in the available space.
11 | Please specify power consumption.
12 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
13 | Response Time: Should not be more than 12 hrs from lodging a breakdown complaint on toll free or by email.
Criteria for RR
Cost per test:
1) Please mention whether UPS / Stabilizer is required for the equipment. If so, should be included in the offer.
2) Only yes or no should be mentioned in the compliance report and additional info in remarks column.