## Reagent Rental
Serial # 4
TMH/TMC/2021-22/CAP/PT/0138
TATA MEMORIAL HOSPITAL
PURCHASE DEPARTMENT
Dept Name: Microbiology, HBCHRC Vizag and HBCHRC MULLANPUR
Technical Specifications: Automated Blood Culture System on Reagent Rental basis for 3 years plus 1 year extendable Qty: 02 nos (Qty:01 no each for Vizag and Mullanpur)
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Year of Probable end of support:
1 | Continuous Monitoring Technology
2 | Should have simple user interface for enhanced ease of use i.e any lab staff member can load the bottles
3 | Should have colorimetric/ fluoroscent sensor in each bottle for rapid, visual detection of positives prior to entry.
4 | Advanced algorithms for individual bottle types, for special circumstances
5 | Data management systems with bar-code scanning capabilities.
6 | Should have fully automated quality control.
7 | Bottle should have media to detect Bacteria & Yeast in one bottle only.
8 | Should have seamlessly integrated modular unit for culturing blood of 200 to 250 samples approx.
9 | Should have software for contamination tracking, blood volume quality indicator reporting, time to detection and positivity & negativity detection rates.
10 | Should be able to interface bi-directionally to an LIS.
11 | UPS of adequate capacity and latest PC configuration to be provided.
12 | Temperature: 68 degrees F to 86 degrees
13 | Relative Humidity: 10% to 85%
14 | Power supply- 100-240VAC, 50-60Hz.
15 | Please specify ambient temperature range & relative humidity required.
16 | Please specify its footprint size & weight.
17 | Should be FDA/ CE marked/BIS/ICMED / approved
General Terms:
Should perform yearly calibration and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards.
Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.
Please specify pre installation requirements (electrical, HVAC etc.)
Please specify footprint size & weight.
Demo of the quoted model , will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
Please visit the site to check whether quoted model can be accomodated in the available space.
Please specify power consumption.
All Necessary standerds and norms. (As applicable).
Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
Response Time: Should not be more than 12 hrs from lodging a breakdown complaint on toll free or by email.
Criteria for RR:
Vendor to offer cost per test.
1. Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
2. Only Yes or No should be mentioned in compliance report and additional information should in remarks column.