## Sheet1
Serial #4
TMH/MUL/2021-22/CAP/PT/0139
TATA MEMORIAL HOSPITAL
PURCHASE DEPARTMENT
Department- Biochemistry, HBCHRC, Mullanpur
Technical Specifications- Nephlometer Reagent Rental basis for 3 years plus 1 year extendable Qty- 1 No
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No | Item Description | Compliance |  | Remarks
|  | Yes | No
Make
Model
Year of Introduction
Probable end of support
1 | Should be able to analyze β2- Microglobulin, Kappa, Lambda, IgA, IgG, IgM
2 | Specify the methodology for the tests to be conducted
3 | Should have one point calibration with longer stability
4 | Should have true antigen access
5 | Minimum throughput should be 75 tests per hour
6 | Cuvettes should be maintenance free
7 | Should be latest windows based operating system with touch screen
8 | Reagents should be ready to use with long onboard stability
9 | Should have 24 hrs onboard refrigerated reagent storage
10 | Assay protocol should be programmable
11 | Specify the sensitivity & linearity of the analyte
12 | Should be able to interface bi-directionally to an LIS.
13 | Brand new PC should be provided for interfacing, interfacing should be renewed yearly
General Terms:
1 | Equipment maintenance (Inclusive of spares replacement, calibration, validation, consumable spares, preventive maintenance, breakdown calls) to be carried out by vendor at their own cost during the period of RR contract. To submit SOPs for PMS at the time of installation/commissioning.
2 | Performance certificates to be submitted at the time of installation / commissioning.
3 | Should be supplied with standard make UPS with atleast 30 mins backup.
4 | Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
5 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.
6 | Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
7 | Please specify footprint size & weight.
8 | Demo of the quoted model, will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
9 | Predispatch inspection at factory will be required if desired by authorities.
10 | Please visit the site to check whether quoted model can be accomodated in the available space.
11 | Please specify power consumption.
12 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
13 | Response Time: Should not be more than 12 hrs from lodging a breakdown complaint on toll free or by email.
Criteria for RR
Cost per test:
1 | Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
2 | Only Yes or No should be mentioned in compliance report and additional information should in remarks column.