## Sheet1
Serial # 4
TMH/TMH/2021-22/CAP/PT/0056
TATA MEMORIAL HOSPITAL
PURCHASE DEPARTMENT
Department - Transfusion Medicine, TMH.
Technical specification of "Automated Immunohematology Analyzer on Reagent Rental Contract for 3 years plus 1 year extendable", Quantity 2 nos.
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name :
Make :
Year of introduction :
Year of probable end of support :
1 | Should be fully automated (walk away) immunohematology analyzer capable of performing blood grouping, cross matching (IgM + AHG), antibody screening, antibody identification, red cell phenotyping, and antibody titration.
2 | System should be based on Column Agglutination Technology
3 | Should have continuous, random access and STAT facility for emergency, priority sample processing without affecting the ongoing process.
4 | Should have facility for preparation of red cell suspension as per the requirement.
5 | Should have different demarcated areas for sample loading, reagent loading and incubator with provision of Room Temperature (RT) and 370 C incubation, centrifuge and waste disposal system. Should have waste containers within the system.
6 | Should accommodate all standard sample tubes size and also should accommodate pediatric samples tubes as primary tubes
7 | Should be able to handle different sample types e.g. centrifuged whole blood, packed red blood cells, red cell suspension, serum and plasma.
8 | Should be able to do positive barcode identification of samples and reagents with complete traceability.
9 | System should be able to read the cassettes/cards barcodes automatically from both sides before giving results.
10 | Should have the facility of weak D testing of Rh negative samples
11 | Minimum sample loading at given point of time should be 50 samples or more.
12 | Shelf life of cassettes/cards should be till original date of expiry (after opening the pack). It should be able to utilise partially used cassettes/cards, previously loaded onto system without any loss of reagents and consumables.
13 | System should have facility to load cassettes/cards continuously during the run via separate door with automatic inventory management for cassettes/cards, reagents for insufficient level.
14 | It should have the facility for cross-checking of previous results.
15 | Should be able to give grading of reaction. Dual cell population/ mixed field reaction should be detectable and displayed
16 | Should automatically check the sample conformity for clot detection, liquid level detection and check dilution tray position.
17 | Should provide connection with Hospital/Laboratory Information System and Blood Bank Software in bidirectional way and ensure successful implementation of interface before commencement of routine functioning.
18 | Should be able to confirm validity of results, tract and log user, calibrate the reader, archive and review results later, print results in user defined format
19 | Should notify the user about the maintenance status. Should have feature of complete traceability for each and every step performed by instrument during performing a test.
20 | Should have critical process monitoring features providing for complete management of system maintenance and quality control. Should maintain a log of maintenance like daily, weekly etc.
21 | Installation of the equipment and all the necessary accessories should be provided including computer, online UPS, bar code reader and printer compatible with the existing power back-up system and necessary software and hardware for data backup should be provided with the equipment.
22 | Specify TAT (turnaround time) per test for Blood group and crossmatch test (IS and AHG). Time required for crossmatch should be 30-35 minutes or less.
23 | Should provide comprehensive training for technical staff and provide technical and engineering support services till familiarity with the system.
24 | Should provide Semiautomated system as a back up.
25 | Should be US FDA / CE approved / BIS approved / ICMED.
26 | Mention expected life span of the equipment
27 | User/Technical/Maintenance manuals to be supplied in English. List of users to be provided
General Terms
Performance certificates of IQ,OQ,PQ tests to be submitted at the time of installation/commissioning ; if desired by the end user.
Should be supplied with standard make UPS with atleast 30 mins backup.
Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
Please specify footprint size & weight.
Demo of the 'Quoted model' , will be mandatory, after the opening of the technical bid within ten days and prior to opening of financial bid. This is for technical evaluation.
Predispatch inspection at factory will be required if desired by authorities.
Please visit the site to check whether quoted model can be accomodated in the available space.
Please specify power consumption.
Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
Response Time: Should not be more than 12 hrs from lodging a breakdown complaint on toll free or by email.
Equipment maintenance (Inclusive of spares replacement, calibration, validation, consumable spares, preventive maintenance, breakdown calls) to be carried out by vendor at their own cost during the period of RR contract. To submit SOPs for PMS at the time of installation/commissioning.
Criteria for RR:
Vendor to offer cost per test
Back to back assurance to be taken by the supplier from OEM to supply spares for minimum 10 years and to be submitted.
1. Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
2. Only Yes or No should be mentioned in compliance report and additional information should in remarks column.