## revised
TMH/TMH/2022-23/CAP/LT/0028
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Department - Tissue Bank, TMH.
Technical Specification of "Water Purification System", Quantity 1 no.
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No | Item Description | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Probable end of support:
A | Prefilter:
1 | Suitable for pretreatment of feed water.
2 | Should be supplied with particle filter, activated carbon filter disposable cartridges to prevent mineral scaling, organic fouling & chlorine oxidation
3 | Should have > 99% capacity to remove particle , micro-organisms , organics, silica.
4 | All fittings, tubings, etc. should be supplied.
5 | Wall mounting kit if any should be supplied.
B | RO System:
1 | Should be supplied with RO cartidge to remove a large percentage of irons, bacteria's organic material.
2 | Delivery Water flow rate: 10 litres per hour.
3 | Resistivity of product water: >5MΩ
4 | TOC contents: <30 ppb.
5 | System should have a digital display for displaying performance parameters like water pressure, permeate, etc. Alarm indicators should also be present.
6 | All fittings, tubings, etc. should be supplied.
7 | Pressure pump or any other hardware needed for feed water also to be supplied.
C | Storage tank
1 | Capacity: 30-60 litres.
2 | Should have high and low level cutoff.
3 | Should be supplied with relevant hardware for interfacing with RO as well as Ultrapure water system.
4 | Tank should have a tap provision for removal of stored water.
5 | Should be supplied with tank filter or integrated vent filter.
D | Ultrapure water system:
1 | Should provide filter to remove traces ions & trace organic molecules from RO filter water.
2 | Water flow rate: 0.6-1 litre/minute.
3 | Resistivity of product water: 18.2MΩ
4 | TOC contents: <5 ppb.
5 | Should incorporate "volumetric dispensing mode".
6 | Should provide final filter that removes bacteria and any particle larger than 0.22µm
7 | System should have a digital display for displaying performance parameters like water resistivity, alarm indicators etc.
8 | All fittings, tubings, etc. should be supplied.
9 | Pressure pump or any other hardware needed for feed water also to be supplied.
10 | System should be provided with built in dual wavelength UV and built in UF.
11 | Should have inbuilt ultra filter for safe removal of endotoxins/DNase& Rnase or both.
12 | The system should be equipped with 2 conductivity measurement for the quality water check after RO & ultrapure water system
E | The entire system should be compact and should have approximate dimensions as 290 * 550 * 455 mm ( W*D*H)
F | Storage tank dimensions should not exceed 510*410mm ( W*D)
General Terms
1 | Should perform yearly calibration/Validation and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards( As per NABL norms). To submit SOPs for PMS at the time of installation/commissioning.
2 | Performance certificates of IQ,OQ,PQ tests to be submitted at the time of installation/commissioning.
3 | Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
4 | Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.(Quote Rate)
5 | Please specify pre installation requirements [electrical, HVAC, Compressed air ( please specify required air pressure), water requirement (RO/DI/Distilled water with its pressure, flow rate per hour) ; if any of the above is essential]
6 | Please specify footprint size & weight.
7 | Demo of the quoted model , will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
8 | Predispatch inspection at factory will be required if desired by authorities.
9 | Please visit the site ( Tissue Bank, TMH ) for point no E & F before filling the tender to check whether quoted model can be accomodated in the available space.
10 | Please specify power consumption.
11 | Unpacking and shifting the consignment to the installation site is to be included in the scope of supply. Bidder/manufacturer/authorized service provider should take responsibility to lift /shift the consignment from unloading site to the installtion site. Unloading site shall be Stores department, Main Building Basement,TMH. If needed ,bidder has to arrange for the laboures at no charge to TMH.(Before submitting the quotation,bidders may visist TMH to Know unloading and installtion site.
12 | Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
13 | Response Time: Should not be more than 06 hrs from lodging a breakdown complaint on toll free or by email.
1 | Warranty- 2 years
2 | AMC- 2% of Ex- Works cost per annum will be considered for all bidders for 8 years after warranty
3 | Back to back assurance to be taken by the supplier from OEM to supply spares for minimum 10 years and to be submitted.
4 | Buy Back Offer- Against Make- Milipore, Model- Direct Q5 - 1 No.
1. If 2 years warranty, AMC maximum 2% per annum for 8 years on ex-works cost after warranty and buyback conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2. Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
3. Only Yes or No should be mentioned in compliance report and additional information should in remarks column.