## Sheet1
TMH/VIZ/2022-23/CAP/LT/0030
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Department - Anaesthesia, Vizag.
Technical Specification of "Manual Jet Ventilators", Quantity 2 nos.
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications. The quoted model should be latest introduced with end of life not before 12 years from the date of installation at TMC.
Sr. No. | Description of Item | Compliance |  | Remarks
|  | Yes | No
Model Name:
Make:
Year of Introduction:
Probable end of support:
1 | Should have colour coded gauge separately metioning pressure for infants, Child & Adults.
2 | Should work on preset pressures with pressure locking safety device to prevent any change of pressures during use.
3 | Should be comfortable for operating manually.
4 | Should come in a carrying case with 4m pressure hose.
5 | Should include Luer Lock connecting tube length 100 cm.
6 | Should include CD for product training.
7 | Accessories:
~ Shall provide all standard accessories, both adult and pediatric
8 | Consumables for future use to be quoted.
9 | Optional:
~ Jet Ventilation Catheter Acc. Ravussin complete with foam necktape, sterile sizes: 13G, 14G, 16G
~ Should include Oral teflon coated catheters for 25 cm, 30 cm, 40cm .
Standards : The unit should comply with standards and should have CE or FDA marking/ BIS approved/ICMED approval
Should perform yearly calibration/Validation and preventive maintenance (2nos) during warranty & if entered into AMC(includes unlimited breakdown calls) /CMC (which will include spare replacement, consumable spares,breakdown calls) Testing & measuring equipment used should be traceable to SI units through National/international standards( As per NABL/NABH norms). To submit SOPs for PMS at the time of installation/commissioning.
Please submit the technical data sheet along with the brochure as a tender document with reference to the quoted make & model.
Please specify list & cost of consumables/consumable Spares( i.e.spares need to be replaced at regular intervals, maybe quarterly/half yearly/yearly such as annual maintenance kit etc.) if any.
Demo of the quoted model , will be required if so desired by the user, after the opening of the technical bid and prior to opening of financial bid. This is for technical evaluation.
Please specify power consumption.
Local Service Support: Should have local office and service support/service engineer for attending the breakdown calls.
Response Time: Should not be more than 12 hrs from lodging a breakdown complaint on toll free or by email.
Warranty: 2 years
AMC- 2% of Ex- Works cost per annum will be considered for all bidders for 8 years after warranty
Back to back assurance to be taken by the supplier from the OEM to supply spares for minimum 10 years & to be submitted to TMH.
1. If 2 years warranty, AMC maximum 2% per annum for 8 years on ex-works cost after warranty and buyback conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2. Please mention whether UPS/Stabilizer is required for the equipment. If so should be included in the offer.
3. Only Yes or No should be mentioned in compliance report and additional information should in remarks column.