## Sheet1
TMH/TMH/2022-23/CAP/LT/0033
TATA MEMORIAL HOSPITAL
(PURCHASE DEPARTMENT)
Department - Surgery, TMH.
Technical specification of "Endoscopic Anterior Skull Base Instrument Set", Quantity 1 no.
Please quote the model which is including the latest state of art equipment and meets the basic minimum specifications.
Sr. No. | Item Description | Qty. | Compliance |  | Remarks
|  |  | Yes | No
1 | Pituitary Curette, Straight, 140mm working length , 90° angled, 3mm tip, semisharp, round handle, reusable. | 1
2 | Pituitary Curette, Straight, 140mm working length , 45° angled, 3mm tip, semisharp, round handle, reusable. | 1
3 | Neurosurgical dissector, sharp, round spatula, angled tip 45°, round handle, 3mm tip straight, working length 130-140 mm | 1
4 | Neurosurgical dissector, Straight, sharp, angled tip 15°, round handle, 2mm tip straight, working length 130-140mm | 1
5 | Micro scissors, straight curved to left, vertical cutting, working length 180mm, pistol grip. | 1
6 | Micro scissors, straight curved to right, vertical cutting, working length 180mm, pistol grip. | 1
7 | Micro scissors, straight, vertical cutting, working length 180mm pistol grip. | 1
8 | Micro scissors, straight , angled upwards 45°, vertical cutting rotatable, working length 180 mm, pistol grip | 1
9 | Microcup forceps scoop shaped 2-3 mm, upwards, pistol grip, working length 16-18 cm | 1
10 | Microcup forceps scoop shaped 2-3 mm, straight, pistol grip, working length 16-18 cm | 1
11 | Straight Microforceps long jaws, pistol grip, 160-180mm | 1
12 | Teardrop shaped Malleable Tip suction tube 6Fr, Length 250mm | 1
13 | Teardrop shaped Malleable Tip suction tube 8Fr, length 250mm | 1
14 | Fukushima Microsuction tube, 250mm, working length 185mm, 3mm diameter | 1
15 | Fukushima Microsuction tube, 250mm, working length 185mm, 2mm diameter | 1
16 | Castelnuovo elevator, doubel ended, graduated, sharp and blunt, one tip tapered length 26cm | 1
17 | Blakesly Ethmoid Forceps, straight 3mm tip, 16cm length | 1
18 | Blakesly Ethmoid Forceps, Upward 45. 3mm tip, 16cm length | 1
19 | Grasping Forceps, straight, serrated, 15cm length | 1
20 | Nasal Forceps, with fine flat jaws, through cutting, tissue-sparing, straight sheath, straight jaws, with cleaning connector, 18cm | 1
21 | Nasal Forceps, with fine flat jaws, through cutting, tissue-sparing, straight sheath, jaws angled upward 45°, with cleaning connector, 18 cm | 1
22 | Plastic container for sterilization and storage of variable Instruments Sets, perforated with transparent lid, with silicone mat, two-levelstorage | 1
23 | Ballprobe dissector, 45 degree, blunt tip , 25cm length | 1
24 | Bioplar Coagulation Forceps, insulated, bayonet-shaped, blunt, tip 0.7mm, total length 25 cm, working length 14 cm. | 1
25 | Bioplar forceps rounded tip, fine jaws, Pistol grip, upwards 45°, horizontal closing 1mm jaws apart, with bipolar cord compatible with all cautery machines | 1
1 | Warranty : Min. 2 years against all manufacturing defect and faulty workmanship.
1. If 2 years warranty and buyback conditions wherever applicable are not adhered to, TMC reserves right to reject the offer.
2. Please mention whether UPS/ stabiliser is required for the equipment. If so should be included in the offer.
3. Only Yes or No should be mentioned in compliance report and additional information in remarks column.