## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: HOMI BHABHA CANCER HOSPITAL & RESEARCH CENTER , AGANAMPUDI, VISAKHAPATNAM-530 053
Name of Work: Construction of Connecting Bridge between Radiotheraphy Block and Hospital Block including Electrical works in Homi Bhabha Cancer Hospital & Research Centre, Visakhapatnam, Andhra Pradesh, 530053
Contract No: HBCH&RC/Civil/2021-22/NIT/07 dated 23/03/2022
0
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
0 | CIVIL ITEMS | Item1
1 | Earth work excavation over areas by manual means to required profile, level, grade,camber etc. in all soils as mentioned below(exceeding 30 cm in depth, 1.50 m in width as well as 10 sqm on plan area) for mass excavation including dressing of excavated area, filling the low spots/ areas with approved excavated earth in layers not exceeding 150mm watering, consolidation etc. and stacking/ disposing the surplus excavated material within a lead of 300 m and all inherent lifts etc.to the required location etc complete all as per specification, drawing and as directed by the Engineer-in-Charge. | Item2
1.01 | All kinds of soil | Item3 | 130 | cum | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Item4 | 25 | cum | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials - All kinds of soil | Item5 | 35 | cum | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level | Item6
4.01 | 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | Item7 | 3 | cum | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | Item8 | 10 | cum | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Providing, erecting, fixing in position, striking /removing and cleaning steel / timber shuttering & centering for form work at all level & locations for all geometrical shapes and designs as per drawings including rails,bracings, props, brackets, cutting holes for pipes etc., providing & applying approved form oil on all surfaces of form work coming incontact with concrete including close hacking of all exposed concrete work after removal of form work, all materials, labour etc. complete as per specifications drawings & as directed by the Engineer in charge. | Item9
5.01 | Foundations, footings, bases of columns, etc. for mass concrete | Item10 | 65 | Sqm | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.02 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | Item11 | 40 | Sqm | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.03 | Suspended floors, roofs, landings, balconies and access platform | Item12 | 50 | Sqm | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.04 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | Item13 | 150 | Sqm | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.05 | Columns, Pillars, Piers, Abutments, Posts and Struts | Item14 | 140 | Sqm | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.06 | Edges of slabs and breaks in floors and walls - Under 20 cm wide | Item15 | 45 | Rmt | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Reinforcement for RCC work including supplying steel bars of various diameters as required at site of work including loading, unloading, transporting, decoiling, straightening, cutting, bending placing in position and binding with 18 gauge, softdrawn annealed steel binding wire including carrying out various tests as required etc. all as per specifications, drawings & as directed by the Engineer in charge. (Cost of binding wire shall be borne by the contractor & shall not be measured for payment). | Item16
6.01 | Thermo Mechanically Treated bars of grade Fe-500 D | Item17 | 13052 | Kg | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Providing and fixing in position copper plate as per design for expansion joints. | Item18 | 75 | Kg | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Providing and filling in position, blown bitumen in expansion joints. | Item19 | 0.1 | Cum | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Providing and fixing in position 12mm thick bitumen impregnated fiber board conforming to IS: 1838, including cost of primer, sealing compound Grade-A in expansion joints | Item20 | 67.5 | Per cm depth for 100m |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Providing and fixing in 300mm wide position Stainless steel Grade 304 plate-1.0 mm thick as per design for expansion joints. | Item21 | 18 | Metre |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. | Item22
11.01 | All works upto plinth level - Concrete of M30 grade | Item23 | 37 | Cum |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11.02 | All works above plinth level upto floor V level - Concrete of M30 grade | Item24 | 41 | Cum |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in | Item25
12.01 | Cement mortar 1:6 (1 cement : 6 coarse sand) | Item26 | 7.5 | Cum |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Providing and constructing 150mm thick Autoclaved Cellular (Aerated) Concrete Block masonry wall in machine mixed cement mortar 1:5 and using Aerocon/ Siporex/ Ultratech- xtralite or approved equivalent precast blocks size of 600mm x 150mm x 200mm with minimum compressive strength of 50 kg/Sq.cm. Blocks manufactured under strict quality control conditions confirming to IS 2185 - Part - 3 latest version shall be used. Rate shall also include to provide RCC band of 150 x 100 mm size at every 1m height & also at the sill & lintel level, but excluding the cost of reinforcement steel. Masonary wall should be line, level, plumb, raking out joints and finished with groove/ pointing for each courses. Rate shall include cost of materials, labour, curring, loading and unloading, transportation, lead & lifts and all other incidental charges, etc.., complete at all levels as directed by the Engineer-in-charge for the Building at all levels. | Item27 | 350 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Stone tile (polished) work for wall lining over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and cement slurry @ 3.3 kg/sqm including pointing in white cement complete | Item28
14.01 | 8mm thick - Granite of any colour and shade | Item29 | 25 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer | Item30 | 8.4 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | Item31 | 75 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. | Item32
17.01 | Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides | Item33 | 10 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. | Item34
18.01 | Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent | Item35 | 11.25 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Providing and laying glossy / matt / satin finish / etc. vitrified tile marbonite of M/s. H & R Johnson (I) Ltd of 600 x 600mm Size (thickness to be specified by manufacturer), of GVT digital/DC/ Colours series with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | Item36 | 110 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Providing and laying glossy / matt / satin finish / etc. vitrified tile marbonite of M/s. H & R Johnson (I) Ltd of 600 x 600mm Size (thickness to be specified by manufacturer), of GVT digital/DC/ Colours series with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete. | Item37 | 130 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | Item38 | 2 | Each |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | Item39 | 2 | Each |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with | Item40
23.01 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | Item41 | 10 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified | Item42
24.01 | 2 mm thick corrugated (2.5" or 4.2" or 6") or step-down (2" or 3" or 6" ) as specified | Item43 | 10 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | Item44 | 80.5 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : | Item45
26.01 | Ridges plain (500 - 600mm) | Item46 | 25 | Metre |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26.02 | Flashings/ Aprons.( Upto 600 mm) | Item47 | 50 | Metre |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module which includes providing and fixing 'C' wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm center to centre, suspending the main C carrier of size 10x38x10 mm made of G.I steel 0.7 mm thick from the soffit with help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. Inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gl steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centers with help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized @ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with: | Item48
27.01 | GI Metal Ceiling Clip in plain Beveled edge global white color tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% Perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | Item49 | 123 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | 15 mm cement plaster on rough side of single or half brick wall of mix: | Item50
28.01 | 1:4 (1 cement: 4 coarse sand) | Item51 | 700 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | 6mm thick cement plaster in Cement mortar (1 cement : 3 fine sand) for exposed concrete surfaces, soffits of slabs andbeams soffit of staircase waist slab etc. | Item52 | 40 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | White washing in three coats in all floors andlocations for concrete /wall surfaces in shafts including sand papering and cleaning the surfaces, filling up cracks and crevices if any with approved putty, scaffolding etc.complete all as per specifications and asdirected by the Engineer-in-charge. | Item53 | 40 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Painting plastered /concrete surfaces with two coats of premium quality acrylic emulsion paintof approved colour over a coat of approved cement primer including preparing the surfaces, filling with putty wherever required, scaffolding and cleaning etc, complete as per specifications, drawings and as directed by the Engineer in charge | Item54 | 280 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Finishing with Epoxy paint (two or more coats) on walls at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. | Item55 | 135 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Item56 | 280 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | Item57 | 1 | Cum |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | Item58 | 2.5 | Cum |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Dismantling of tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | Item59 | 15 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge | Item60 | 8 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38 | Taking out existing kerb stones of all types from footpath/ central verge, including removal of mortar etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge | Item61 | 25 | Metre |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | Item62 | 50 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
40 | Laying old cement cocrete interlocking paver blocks of any design/shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin-charge. (Old CC paver blocks shall be supplied by the department free of cost). | Item63 | 40 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
41 | Laying at or near ground level old kerb stones of all types in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement : 3 coarse sand), including making joints with or without grooves (thickness of joints, except at sharp curve, shall not be more than 5 mm), including making drainage opening wherever required etc. complete as per direction of Engineer-in-charge. (Length of finished kerb edging shall be measured for payment). (Old kerb stones shall be supplied by the department free of cost) | Item64 | 25 | Metre |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
42 | Providing and fixing Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) work for Doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing to be paid for separately) : | Item65 | 430 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
42.01 | No separate payment shall be made for fittings such as locking arrangement, hinges, friction hinges, fittings and fixtures, gasket etc., Tenderers are required to consider the cost of all fittings, fixtures, locking arrangement, handles, pegstays, gaskets, screws, hinges etc., However floor spring, hydraulic door closer, special entrance door handles if any will be paid seperately under relevant item | Item66
43 | Providing and fixing glazing of 5 mm thickness float glass panes in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | Item67 | 10 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
44 | Providing and fixing machine moulded Anodised aluminium sheet 2.5mm thick (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) covering of approved pattern & design, made out of machine cut aluminium sheet and machine holed for receiving dash fastener, over expansion joints on vertical surfaces/ceiling floors, the fixing on plate in one row on one side of joint only shall be done with stainless steel dash fasteners of 8 mm dia and 75 mm long bolt including providing aluminium washers 2 mm thick & 15 mm dia , at a staggered pitch of 200mm centre to centre including drilling holes in the receiving surface and providing expandable plastic sleeves in holes etc. complete as per direction of Engineer-in-charge | Item68 | 75 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
45 | Providing and laying integral cement based treatment for water proofing on horizontal surface at all depth below ground level for under ground structures as directed by Engineer-in-Charge and consisting of : | Item69
45.01 | (i) Ist layer of 22 mm to 25 mm thick approved and specified rough kota stone slab over a 25 mm thick base of cement mortar 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound conforming to IS:2645 in the recommended proportion over the leveling course (leveling course to be paid separately). Joints sealed and grouted with cement slurry mixed with water proofing compound. (ii) 2nd layer of 25 mm thick cement mortar 1:3 (1 cement: 3 coarse sand) mixed with water proofing compound in recommended proportions. (iii) Finishing top with stone aggregate of 10 mm to 12 mm nominal size spreading @ 8 cudm/sqm thoroughly embedded in the 2nd layer. | Item70 | 12.75 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
46 | Providing and laying integral cement based treatment for water proofing on the vertical surface by fixing using rough kota stone slab 22 mm to 25 mm thick with cement slurry mixed with water proofing compound conforming to IS:2645 in recommended proportions with a gap of 20 mm (minimum) between stone slabs and the receiving surfaces and filling the gaps with neat cement slurry mixed with water proofing compound and finishing the exterior of stone slab with cement mortar 1:3 (1 cement : 3 coarse sand) 20 mm thick with neat cement punning mixed with water proofing compound in recommended proportion complete at all levels and as directed by Engineer-in-charge | Item71 | 25 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
47 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: | Item72
47.01 | a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge over 20 mm thick layer of Cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. | Item73
47.02 | c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. | Item74
47.03 | e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | Item75
47.04 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | Item76 | 40 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
48 | Supplying and spreading pesticides CHLORPYRIPHOS or other chemical approved by central insecticides board as directed by the manufacturer and spraying the mixture uniformly by sprayer aspre-construction anti- termite treatment at the rate of 7.5 liters per sq.m. on vertical and 5 ltrs. per sq.m. on horizontal surfaces (or as directed by the manufacturer) within the trenches, 50% of the emulsion to be filled in the holes made in trenches at 150mm. centre to centre etc. complete as per IS 6313 Part-II. (The payment will be made onthe basis of plinth area measurement only at ground floor/stilt area for all stages of operation and vertical face will not be measured for payment) all complete as per specifications, drawings and as directed by the Engineer in charge | Item77
48.01 | a) This item will be executed through approved agency who is a member of Indian Pest Control Association, approved by Central Insecticides Board b)The contractor shall have to furnish ten years guarantee in the prescribed proforma as per Conditions and clauses to maintain the anti-termite treated area/structure free from termite. c) Prior approval of Engineer in Charge shall be obtained after testing the chemical for antitermite to be used and shall be tested in approved laboratory and to be submitted to Engineer in Charge . Cost of testing shall be included in the rates quoted. | Item78 | 120 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49 | Providing and fixing 46mm thick of hollow metal fire rated flush doors as mentioned below as per IS 3614 part-1 & part-2 for with 18 guage minimum thick galvanised steel sheet and rigid reinforcement pads for receiving appropriate hardware including infill material resin bonded honeycomb core withedges interlocked with a bending radius of 1.4 mm including providing astragals on the meeting style for both active and inactive leafwith vision lite wherever applicable with abeeding and screws from inside with 10mmthick borosilicate fire rated glass of relavant rating of the door stability and integrity, pressed galvanized steel conforming to IS 277 with thespecification recommended for fire door havingtested at CBRI or ARAI for maximum rating of 2hrs. with vision panel along with door frame with double rebate profile of size 143 x 57 mm made out of1.60mm (16gauge) minimum thick galvanized steel sheet, with all fittings and fixtures as shown in drawing and as mentioned against each door and field assembled with self tabs, mortised, drilled and tapped for receiving appropriate hardware, rubber door silencers on the striking jamb, frames provided with backplate bracket and anchor fasteners wallopening including grouting with cement & sand slurry (1:3) or cement concrete 1:11/2:3 with 6mm thick aggregates including sprey painting at factory with coat of fire retardant paint ofapproved colour and shade with a coat of approved steel primer etc all complete as per drawing, specification and as directed by the Engineer in Charge. | Item79 | 11.6 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
49.01 | a)Manufacturer shall submit 3 copies of shop drawing showing the dimensions details of fabrication etc. for the approval of Engineer in charge. b)All the shutters and door frame should be detachable from the assembly whenerver required. c) Quoted rate shall inclusive of all fittings and fixtures, as shown in drawings as per manufacturer requirement.The quoted rates shall also holds good for additional fittings and fixtures required if any to meet the function requirement and nothing extra shall be paid on this ground. d) Quoted rate shall inclussive of door frame, (choukat). e) Quoted rate shall be applicable for all type of shutter including addition / alteration if any f) The cost towards cutting/ chasing brick/concrete surfaces etc. and making good thesame while fixing shall be included in quoted rate. g) The quoted rate shall inclusive of groutingthe door frames(choukat) in CM 1:3 or cement concrete in proportion 1:11/2:3 (1 cement: 1 1/2sand: 3 coarse aggregates 6mm size) | Item80
50 | Providing and fixing of on wall face 110mm Dia unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including all fittings e.g. plain or door bends, junctions, offsets, access pieces, clamps, Cross Shoe etc. jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion | Item81 | 10 | Rmt |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
51 | Providing and fixing 6mm thick graphite blue toughned glass of approved quality glass panes for doors/ windows/ventilators, of all geometrical shape and design of M/s. Saint Gobain, fixing with aluminium frame work including fixing aluminium channel beading (to be paid under relevant item) and providing and fixing with 2 way EPDM gasketing, to ensure water and air tightness and neoprene cushions /gasket accommodated ingrooves, necessary bronze/ champagne/ approved colour anodised screwsetc., all complete generally as per drawings specifications and as directed by the Engineer in Charge. | Item82 | 50 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
52 | Providing and applying at all floors and levels two coats of M/s. SKK exterior paint LENALUCKover plastered surface of approved colour andshade on specified locations internal/externalsurface in plane, curved/any geometric shape asto correct line, level, plumb including finishingwith sharp edge at corners, niches etc. all as per manufacturer's recommendations and specification including all labour materials,scaffolding, double height staging if requiredand surface preparation etc. all complete at allheights, leads, location and lifts as specified in drawing and as directed by the Engineer in Charge. | Item83 | 420 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
53 | Providing & fixing in position GI chicken wiremesh (Hexagonal shape) of 12mm size hole,22 Gauge with necessary "U" hooks, clips ornails using drillimg machine etc. at all floorsand levels, wherever required to prevent development of cracks in plaster surfaces,as per specifications, drawings and asdirected by the Engineer in charge (Only area of chicken mesh provided shall be measured for payment) | Item84 | 10 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
54 | Providing and laying 150mm consolidated thickness dry rubble stone hard core soling of following consolidated thickness in sub base to floor, in plinth protection, footpath and other misc. works to required levels and lines with first quality rubble, hand set, well packed including filling the interstices with smaller stone chips, supplying & finishing / blinding the surfaces with approved blinding quality murrum including watering, consolidation etc. complete as per specification, drawings & as directed by Engineer in charge | Item85 | 34 | Sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
55 | STEEL CONNECTING BRIDGE DISCRIPTION. Steel column height from pedestal top to connecting bridge bottom beam shall be approximately 5.75m. Connecting bridge width and both the side height shall be approximately 3.2m, Connecting bridge deck slab floor top to road level shall be approximately 6.2m. Deck sheet thickness shall be 2mm with shear stud. Roof cover shall be 0.5mm thick galvalume sheet. Both the side of connecting bridge - wall with aluminium grill/window. (Measurement shown above might vary as per site conditions). SCOPE OF WORK. Fabrication, supply and erection of connecting bridge all steel members are hot rolled section ISMC channel and angles,conforming to relevant IS 2062. The work. including straightening, cutting, welding, fabricating to shape, Fabricated members shall be erected over the steel columns with welding connection in all elevations, levels and heights including aligning, leveling, providing and fixing bolts, anchor bolts, nuts, washers etc., as per drwg as approved by EIC. The rate to include the cost of all materials, labour, tools, tackles, cranes, devices and plants, wastage etc., as per the drawings complete. The rate quoted is to include cost of anchor bolts, bolts, nuts, washers, clamps, cleats, welding, electrodes and connections required for the work. Rate to include shims and packing pieces. Rate to include preparation of fabrication shop drawing for Owners/Architect approval and inclusive of the following finishes. | Item86
55.01 | SURFACE PREPARATION AND PAINTING. Surface preparation by shot blast cleaning (Sa 2.5 grade). After surface cleaning one coat of approved make Epoxy primer paint of 25 microns by spray at plant/fabrication yard and 2 coats of Epoxy final paint by spray at plant, each coat shall be 35 microns. Total paint thickness shall be 95 microns. The paint thickness shall be checked with ELCO METER. If paint thickness found less than 95 microns in any place, the entire structure should be applied one more coat of 35 microns with free of cost. No payment will be paid for this. The colour of the finish paint shall be approved by the Client / PM In case of local weld, fresh treatment shall be repeated with same colour to match with the original Paint. a) Shot blasting - Sa 2.5 (except secondary members) b)one shop coat of epoxy polyimide based red oxide zinc phosphate primer (1 x 25 micron) c) Two coats of epoxy polyamide based enamel paint over primer has to be provided. One shop coat at factory and one site coat after erection of epoxy polyimide based enamel paint (2 x 35 micron) The colour of the finish paint shall be approved by the Client / PMC / Architect. In case of local weld, fresh treatment shall be repeated with same colour to match with the original Paint. | Item87
55.02 | Main Bridge structure | Item88 | 19 | MT |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
55.03 | Cold rolled pregalvanised purlin for roofing | Item89 | 2 | MT |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
55.04 | Deck sheet 2mm with shear stud for flooring | Item90 | 72 | sqm |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
56 | ELECTRICAL ITEMS | Item91
57 | Wiring to the circuit mains using 2 Runs of 2.5sqmm + 1 Runs of 1.5sqmm multi stand PVC insulated copper conductor (FRLS) in a suitable size of MS conduit etc.(Nearest LDB to Switch box) | Item92 | 120 | Mtrs |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
58 | Wiring to the circuit mains using 2 Runs of 4sqmm + 1 Runs of 2.5sqmm multi stand PVC insulated copper conductor (FRLS) in a suitable size of MS conduit etc.(Nearest PDB to Switch box &Lift Sockets) | Item93 | 125 | Mtrs |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
59 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required | Item94
59.01 | 600 mm width X 75 mm depth X 2.0 mm thickness | Item95 | 63 | Metre |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
59.02 | 750 mm width X 75 mm depth X 2.0 mm thickness | Item96 | 63 | Metre |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
60 | Supply, installation, testing & commissioning of following readymade distribution boards, double door, IP 42 degree protection complete with necessary, MCB isolators , MCBs, earth leakage circuit breaker (ELCB) etc including interconnections with appropriate capacity size of PVC insulated copper conductor wires (ISI marked),suitable for concealed mounting /wall mounting with MS frame work of 40 x 40 x 5 mm MS angle iron, with M.S.enclosure fabricated out of min 18 SWG /20SWG thick M.S. CRCA sheet as per manufacturers standard, with concealed hinged door, locking arrangement etc. including earthing clamps for both incoming & outgoing circuits, interconnections, per phase isolation kit as required,cable end box & wire way box if required, continuous copper earth wire in the wire way box with single/duplicate brass earthing terminals, danger board, name plate, flexible earthing for the door, metal treatment & powder coated painting, Phase Distribution drawing etc. all as per drawings etc. relevant IS & instruction of Engineer-in-charge. | Item97
60.01 | Lift LPDB - 4 Way : The double door type 4 Way TPN Compartmental Horizontal (7 Segment Phase Segregation ) MCB DB meeting IP-42 comprising of the following : a) 63 A FP MCB -- 1 No. b) 40 A,2 pole 100mA RCBO -- 3 nos c) 6 A -32 A SP MCB -- 12 nos With necessary tinned copper busbars, interconnections, separate earth bus, separate neutral bus etc., The board shall be powder coated type fixed with concealed system in wall. The rate shall include necessary connected minor civil works as required. | Item98 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
61 | Supply, Installation, testing and commissioning of 63A 300mA 4P RCBO (For Lift) cubicle type concealed isolator panel. The rate shall be inclusive of Making opening of wall for fitting the panel and finishes the edges neatly and suitable size enclosure with adopter boxes for cable termiantion,etc. | Item99 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
62 | Point Wiring points by using 2 Runs of 2.5sqmm + 1 Runs of 1.5 sqmm multi stand PVC insulated copper conductor (FRLS) in a suitable size of MS conduit. The rates should be inclusive of modular type switch in a suitable size of MS modular type box with front plate suitable for recess system. No extra payment will be made for minor civil works, interconnections, sign writing etc. as per specification in the following manner: | Item100
62.01 | 2 light controlled by 1 switch (1 Set = 2 lights) for LED Fittings | Item101 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
62.02 | 3 light controlled by 1 switch (1 set = 3 lights) for LED Fittings | Item102 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
63 | Supply, fixing, testing and commissioning of 1No. 6/16A modular socket for Raw Power/UPS supply and switch combination in a suitable size modular box in recessed system. (6/16A socket controlled by 1 no. 16A Switch with LED indications) (General- 1No, Lift-3Nos.) | Item103 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
64 | Supply of IP65 4' LED luminaire with special application luminaire shall be designed to provide undisrupted lighting for humid indoor application. The luminaire shall be with all-weather extruded aluminium housing and highly efficient electronics with LED system to offer long useful life even in adverse application and environmental conditions. The luminaire shall be with Co-extruded polycarbonate housing and mounded end caps. The system wattage shall be < 38W with system lumens of > 4400 lumens and system efficacy of > 100 lm / W. LED make: that satisfies IEC62471 Photobiological/RoHS Standards with and LED Efficacy of > 150lm/W, Colour Temperature-6500K or Higher with LED binning as per ANSI Bin C78.377A, 120Deg LED Beam Angle, CRI > 80, Life of LED as per L70 > 50000burning hours, Ambient temp-0 to 50DegC, Driver efficiency>85%, THD<10%, Power factor>0.95, Inbuilt Surge protection in CM ≥ 4.0KV, Constant Current - Constant Voltage LED Driver with APFC Construction, high voltage cutoff & auto restart @320V, phase to phase 440V protection upto 8hrs, LED Driver Voltage range 150-270V AC and Safety Extra Low Voltage Safe level<60V DC as per IEC standard, Electrical Safety with Class 1 Insulation. PHILIPS EQUIVALENT CAT NO:WT201C LED20S 6500 PSU | Item104 | 9 | Each |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
65 | Supply of IP65 4' LED luminaire with special application luminaire shall be designed to provide undisrupted lighting for humid indoor application. The luminaire shall be with all-weather extruded aluminium housing and highly efficient electronics with LED system to offer long useful life even in adverse application and environmental conditions. The luminaire shall be with Co-extruded polycarbonate housing and mounded end caps. The system wattage shall be < 38W with system lumens of > 4400 lumens and system efficacy of > 100 lm / W. LED make: that satisfies IEC62471 Photobiological/RoHS Standards with and LED Efficacy of > 150lm/W, Colour Temperature-6500K or Higher with LED binning as per ANSI Bin C78.377A, 120Deg LED Beam Angle, CRI > 80, Life of LED as per L70 > 50000burning hours, Ambient temp-0 to 50DegC, Driver efficiency>85%, THD<10%, Power factor>0.95, Inbuilt Surge protection in CM ≥ 4.0KV, Constant Current - Constant Voltage LED Driver with APFC Construction, high voltage cutoff & auto restart @320V, phase to phase 440V protection upto 8hrs, LED Driver Voltage range 150-270V AC and Safety Extra Low Voltage Safe level<60V DC as per IEC standard, Electrical Safety with Class 1 Insulation. philips cat no:WT 202W LED6S PSU S1 PC 9W BULK HEAD LED | Item105 | 3 | Each |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
66 | L.T Cables:Supply, installation, testing & commissioning of 1.1 KV grade aluminium/ Cu stranded circular/ sector shape core conductor with PVC/XLPE insulation, extruded PVC innersheathed, G.I flat strip/wire armoured, extruded FRLS grade antirodent & antitermite PVC (ST-2)outer sheathed cable conforming to IS : 1554 Part I / IS7098 Part-I with latest amendments, fixed on wall/column/ slab/false ceiling/existing cable tray /existing humepipe/ trench/ shaft/pit/ on 5mm thick M.S. flat /GI spacer/ angle/ support fixed with coach screws/ grouted inwall/anchor fasteners 2mm. thick G.I.fabricated saddle, all fixing accessories, etc complete including painting of M.S spacers/angles andsaddles or in ground at a depth of 900 mm below ground level, sand bedding, laying of baked bricks on side & top, temporary reinstatement, back filling, dewatering, consolidation, disposal of excess earth within the radius of 500 m and making good to the original finish etc providing brass cable number tag as per enclosed detailed specifications, drawings & as per instructions of the E-I-C & of the following sizes. | Item106
66.01 | 4C x 10 Sq.mm XLPE Cu. Ar.conductor cable-For lift Isolator | Item107 | 120 | Mtrs |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
66.02 | 4C x 4 Sq.mm PVC Cu. Ar.conductor cable-For Lift SPN DB | Item108 | 100 | Mtrs |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
67 | Closed GI Cable tray : Supply, fixing of the following closed GI cable tray 1.6 mm wall thickness and with every 500 mm distance two numbers of 25mm knok-out hole provision on both side, and closed tray clamped every one meter distance, and smooth finishing for DATA cable application and including supply & fixing of 8mm dia threaded rod with washers, check nuts, anchor fasteners, etc., as directed by E.I.C. | Item109
67.01 | 300mm Wide X 100mm Height with removable top cover sheet | Item110 | 63 | Metre |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
68 | Design, supply, erection of “ASHLOK” safe Earthing Electrode – Copper plated– Model ASEEL 39 CP (250μ) or equivalent Safe Earthing Electrode, pipe-in-pipe technology, using galvanizedsteel pipes, outer pipe dia 80 mm (wallthickness: 2.0 mm) inner pipe dia 42 mm(wall thickness 2.6 mm), terminal hole 14mm dia, terminal size: 65x60x6 mm, length 3000 mm, copper plating thickness250 microns, Pipes inner filled with anticorrosive Crystalline Conductive Mixture;and suitable soil friendly Humidite orConductolite moisture retaining Backfill compound and including construction of(inner size) 600 mm X 600mm masonrythrough RCC cover. The cover shall beheavy duty to suit heavy vehicle movements. Note:The recommended moisturecompound suitable for rocky area soil condition. ( the rate includes necessary connected minor civil works if required and necessary supports as required at site. No extra payment will be made for the same) | Item111 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
69 | Tinned copper/ GI earth wire/earth strip fixed on wall/side of trench/slab/ column /beam/ shaft connection to panel/DBs/SFU's etc. with 5mm thick G.I. Spacers & 2mm thick G.I. Saddle in ground at 750 mm below including excavation in ground with protective baked bricks, excavation in ground, refilling & removal of excess earth within a radius of 500 m, temporary instatement & back filling of trench, consolidation, interconnection of earth strip/wire with brass bolt & nuts & washers & solder jointing, painting with two coats of black bituminous paint for earth wire/ strip in ground & green enamel paint for earth wire /strip on surface etc | Item112
69.01 | 25 X 6 mm GI strip | Item113 | 100 | Mtrs |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
69.02 | 8 SWG CU Wire for DB Earthings | Item114 | 50 | Mtrs |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
69.03 | 2.5 Sqmm bare cu condutors(Green Color) in MS conduit-DB Earthing | Item115 | 50 | Mtrs |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
70 | BED LIFT :Design, fabrication, manufacture,assembly, delivery to site, installation, testing, commissioning and handing overof 1768 kg (26 passenger) bed lift having contract speed of 1.0 m/s serving from Ground floor to first floor in the existing lift shaft as per detailed specifications enclosed, lift rules, IS, as per instructions of E-I-C and as under : 1. AC gearless Elevator drive with machine room less. 2. Duty load : Min 1768 kg (26 passenger) 3. Speed : 1.0 m/s 4. Floors served : 1 (Ground to first) 5. Travel : 6.16 m (approx) 6. Stops & opening : 2 Stops (Ground & First Floor), 2 Openings - One Entry from bridge side at first floor level and Opposite direction entry from lobby side at Ground level. 7. Controller : A.C. variable voltage &variable frequency with closed loopcontrol. 8. Operation : Microprocessor based single automatic push button /Duplex collective – selective with /without attendant. 9. Power - 415 V, 3 phase, 50 Hz, 4 wiressystem. 10. Type of doors :a) Car : Power operated, centre opening horizontal sliding stainless steel doors and finish as per specfications b) Landing doors : Power operated, centre opening horizontal sliding stainless steel doors and finish as per specfications) Tamper proof infra-red full width andfull height of the opening with protective leading edge device as back up protection. | Item116
70.01 | 11. The lift car shall have two parallel car operating control panels in automatic mode (without attendant) and from one panel in attendant mode, complete as per specifications. 12. The lift shall be monitored by IBMS system. The lift controller shall be communication capable (preferably RS485 port) and suitable to provide real time operational information of the lift parameters as indicated in the technical specifications. Also necessary potential free contacts shall be terminated on separate terminal block within the lift control panel for further interface with Automatic rescue device complete with dry maintenance free batteries as required. 13. All the lift equipments, car, control devices, indications, safety devices, wiring connections, required civil and steel works etc. all as per specifications shall be included in the scope of work. The rate shall include approval / obtaining completion certificate from the electrical /lift inspectorate of Government of AndhraPradesh/ Competent Authority for installation and commissioning of lifts before handing over the entire installation of the lift. | Item117 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Less (-) | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information