# ENQUIRY NO: TMH/IMP/SANGRUR/2014-2015/LT12           Submission date: 04/03/2015 up to 12.30 hrs 			                                                            Tender Opening date: 04/03/2015 at 14.30 hrs

TATA MEMORIAL HOSPITAL

TATA MEMORIAL CENTRE

#### DR ERNEST BORGES MARG

PAREL, MUMBAI 400 012

Tel: 022-24177000 Extn 4642

Fax: 022-24136777

Email: purchase@tmc.gov.in

TMH/IMP/SANGRUR/2014-15/LT12 PART I & PART II	              13/02/2015

TENDER FORM

The Director, Tata Memorial Centre, Dr Ernest Borges Marg, Parel, Mumbai 400 012 invites sealed tenders for the supply, installation and commissioning of the equipment as per technical specifications mentioned in schedule A of the tender to be placed at Homi Bhabha Cancer Hospital, Sangrur, Punjab and Homi Bhabha Cancer Hospital & Research centre, Visakhapatnam..

GENERAL TERMS

Please quote the entire model including the state of the art equipment which meets the basic requirement.

- Tender should be submitted or drop in the drop box available in the purchase department in two parts simultaneously in separate sealed covers super scribed as “TMH/IMP/SANGRUR/2014-15/LT12 FOR “CYTOTOXIC SAFETY CABINET DUCTLESS Qty. 02 Nos.” PART I and PART II.  Part I should contain the technical bid and Part II should contain the commercial Bid. Both the parts should be received on or before 04/03/2015 up to 12.30 hrs. in the Purchase Department, Tata Memorial Hospital. Part I will be opened on 04/03/2015 at 14.30 hrs. in the presence of the attending tenderers. Time and date of opening of the Part II (price bid) will be intimated only to the tenderers who are technically qualified after evaluation of Part I.

Only technically shortlisted and commercially lowest offers will be considered for financial negotiations.

- Tender document charges for the tender forms downloaded from our web site to be paid to the Accounts department before its submission.

: 2:

- An Earnest Money Deposit of Rs. 20000/- is to be paid either by cash or DD in favour of Tata Memorial Center at the cash counter and the photocopy of the cash receipt should be enclosed in the Part I Technical Bid of the tender documents. The original money receipt must be kept with the vendor and to be shown at the time of tender submission. The EMD Receipt number and date should be mentioned on the envelope.

- The bids received without paying the tender document charges and EMD charges shall not be considered.

- Forfeiture of the E.M.D.

If for any reason whatsoever any bidder withdraws his bid at any time prior to expiry of the validity period or after issue of the Letter of Intent/ Work Order, Purchase Order, refuses to execute the Work Order / Purchase order or furnish the security Deposit and Performance Guarantee for faithful performance of the contract within the stipulated time, the amount of E.M.D. is liable to be forfeited by.

Refund of E.M.D.

The Original E.M.D. receipt along with written request letter needs to be submitted in the Import cell, purchase dept for Refund of E.M.D.

a) EMD of the successful tenderer shall be refunded after the security deposit as called for the contract is furnished.

b) EMD furnished by all unsuccessful tenderers will be returned as early as possible after the expiry date of validity of their offer but not later than 30 days of award of the contract.

- The successful tenderer will have to enter into a contract for supply, installation and commissioning of the equipment. A Performance Security deposit of 10% of Invoice value to be paid either in cash or in the form of Bank Guarantee to be given for satisfactory performance and service for warranty period or CMC.

Those vendor who have paid Security deposit / Performance bank guarantee must be taken back by the vendor within 3 months of expiry period. If not collected within 3 months the expired Bank Guarantee shall be destroyed.

7.	Scope of work:

1) Scope of supply should include supply, installation and commissioning of the equipment at site decided by TMH at no extra cost to TMH.

2) Clearance of the import consignment shall be carried out by the vendor. However, the cleared equipment shall be stored in Homi Bhabha Cancer Hospital, Sangrur Stores area or any other area in the hospital. It will be responsibility of the vendor to transport the equipment to the site of installation at no extra cost to TMH.

8.	The damages if occurred to the item / equipment during transit up to its installation and commissioning shall be taken care by the supplier / Indian agent either himself or through second party obligation by way of goods insurance to be arranged with a reputed goods insurance company preferably Indian company. In case an insurance policy taken from insurance company of foreign origin that shall be the responsibility of the supplier / agent and no obligation will be there on the part of the purchaser and every step whatever is required to be taken shall be initiated and taken by the agent.

9.	If the Vendor Capability Performa provided and the documents required as mentioned are not submitted TMH reserves the right not to accept the offer.

10.	The Director, TMH / TMC reserves the right of cancellation, adding, reducing or deferring the purchase without assigning any reason thereof and claim in this behalf in any way shall not be tenable for compensation in one way or the other.  In such case the bidder will be refunded with the earnest money deposit without any payment of interest. The Director, TMC on enquiry will disclose the reasons for rejecting a tender or non issuing a tender document.

: 3:

11.	If a firm quotes “NIL” charges / consideration, the bid shall be treated as unresponsive and will not be considered. (as per Rule 160 (xvi) of General Financial Rules 2005 vide DAE letter No. 1/5(3)/2012-Budget/ 2483 dated February 20, 2014)

# PART I – TECHNICAL BID

1.	If the tenderer is not capable of quoting particular item tenderer should clearly mention in the Technical bid in the compliance report.  For the cases where the compliance report the tenderer not mentioned anything then management is free to presume that it is inclusive of the cost quoted by the tenderer.

- Part I of the tender should contain two sets of complete specifications and a copy on floppy detailing component/specifications in prescribed format as mentioned in Annexure I. Product catalogue / literature/in original of the equipment offered and the authority to quote should also be provided.

- Facilities required for electric power, ventilation, ducting and other details such as room design, layout including control space if essential conforming to the safety standards etc. should be mentioned in the offer. Any requirement of UPS/Voltage Stabilizer/computer connectivity & software should be included in the scope of supply.

- The bid should also contain a list of optional and essential accessories, spares and consumables required to be maintained by the Hospital and vendor.

- The list of places and institutions where same model of the equipment quoted are installed must be provided with technical bid.  An equipment performance certificate from users is desirable.

- Tenderers must be willing to demonstrate equipment functioning to the users at the tenderers cost.

- The supplier will provide training of operators/technicians for operation and user maintenance free of cost.

8.	The vendor shall mention the make and model offered.

9.	The selected tenderer must submit floor plan for approval prior to execution/installation if              necessary.

10.	The bid should also include the following:

- PAN No.

- Income Tax details.

- Profit & Loss a/c & Balance Sheet of the company for 03 years

- Factory License / Shops & Establishment License.

- Complete Literature of the Product offered.

- Latest Letter of Authority from manufacturer if the supplier is dealer or agent of the firm.

- Vendor Capability Proforma duly filled in.

- Declaration from foreign agency whether they have a Permanent Establishment or dependent agent in India or not.

- TRC (Tax Residential Certificate) of foreign party (Principals)

- PAN No. of the foreign agency

- : 4 :

PART II COMMERCIAL BID

- The details of the price the equipment should be quoted in Part II of the tender in a separate sealed envelope in the following manner :

- F.O.B. (including handling, inland freight & documentation charges) of basic unit, standard accessories, optional accessories & spares.

- Freight & Insurance (Air & Sea). The insurance must cover the equipment up to installation, commissioning and testing.

- Installation & commissioning charges if any. The delivery period of the equipment and the time required for installation / commissioning of the equipment must be mentioned.

- The tender of the offer would be CIF/DDU (Delivered Duty Unpaid) –Sangrur, Punjab and CIF/DDU (Delivered Duty Unpaid) –Visakhapatnam,  as per the Incoterms 2000. i.e. in case of import, it will be vendor’s responsibility to clear and transport the equipment to Stores department/ designated site.  The insurance must be upto installation and commissioning of the equipment. All essential spares, consumables, labour and any other incidental costs required for delivering the equipment up to the site of installation and for the startup of the equipment must be included in the commercial bid.

2.	In the price bid renderers should ensure to quote the prices in the prescribed form. If a firm quotes “NIL” charges / consideration, the bid shall be treated as unresponsive and will not be considered. (as per Rule 160 (xvi) of General Financial Rules 2005 vide DAE letter No. 1/5(3)/2012-Budget/ 2483 dated February 20, 2014)

3.	Validity:    Tender must remain valid for six months from the due date of the tender.

4	Terms of Payment:  The mode of payment must be indicated clearly. The preferred mode of payment is payment within 30 days after successful installation and commissioning of the equipment. For import cases the mode of payment is “Unconfirmed and Irrevocable Letter of credit” payable 90% against dispatch documents and 10% after installation.

5.	Warranty:

- Warranty period and terms of warranty including accessories, details of preventive / periodic maintenance, frequency and task description must be specified. Vendors are required to provide 2 years warranty + 5 years free services. Tenders not confirming to this clause are liable to be rejected.

- Uptime Guarantee :

The firm will be required to guarantee that during the warranty period as well as during the service contract period, the equipment will be maintained in good working condition for a period of 347 days out of a period of 365 days. (i.e. 95% uptime) 8, hours non functioning of the equipment may be considered as one day down time. Essential period to shut down the installation entirely or partially shall also be included in the down time while calculating the 95% guaranteed uptime. This guaranteed uptime shall be calculated for each block of 365 days. The firm will be required to pay a penalty for every day 0.1% of the invoice value per day in case the number of days downtime in each period of 365 days is more than the downtime permissible which is to be calculated as defined above. The delay for not bringing the equipment in functioning order is in any way directly, even partially attributable to the firm.

## : 5 :

6.	Spares: Essential spares are likely to be required during the period of warranty must be supplied with the equipment. Price list of major or minor spare components which are likely to be needed for proper functioning of the unit after warranty period must be supplied and prices should be frozen for the next 7 years.

7.	Consumables:  Consumables required during installation, startup, commissioning and trial runs are to be supplied by the supplier of the equipment. All consumables required for the working of the equipment should be quoted for in the commercial bid.

8.	Items where custom duty has to be paid in India must be indicated with current rate of duties.

9.	The term FREE implies providing goods and services within the premises of TMC at no extra cost to TMC.

10.	Tenderers having a service centre at locally will be preferred.

11.	If unsigned, incomplete and conditional bids are forwarded, the Director, TMC reserves the right to

reject the tender.

12.	If the manufacturer is quoting in foreign currency, an undertaking must be given by the manufacturer that the manufacturer does not have any office in India.

- Liquidated damages: In event of failure to supply within the stipulated delivery period, the purchaser reserves the right to levy liquidated damages @ 2% per month or part thereof for the delayed supplies.

14.	TMC reserves the right to purchase all OR any of the quantities tendered.

15.	Delivery site: a) Qty. 1 No. for Sangrur, Punjab.

b) Qty. 1 No. for Visakhapatnam.

.

16.	Offers with conditions / ambiguity shall be liable to be rejected.

16.	Rules and regulations of TMC will be the part of contract.

PURCHASE OFFICER

I/We have read the Terms and conditions and the same are acceptable to me/us.

____________________

(Tender’s Signature)

TENDERER'S FULL NAME & ADDRESS:

NAME: ________________________________

ADDRESS: _____________________________

_______________________________________

_______________________________________

# TATA MEMORIAL HOSPITAL

# TATA MEMORIAL CENTRE

Dr Ernest Borges Marg

PAREL, MUMBAI 400 012

# TENDER FORM

Application

Ref: Tender No:                                                                                                     Date:

| 1 Name of the Item / Work |  |
| --- | --- |
| 2. Due Date of the submission of the tender. |  |
| 3. Receipt No. for EMD Amount and Date |  |
| 4. Name / Title of the Bidder |  |
| 5. Full Address (recent) |  |
|  | E-Mail (recent) |
|  | Tel. No & Mobile No. (recent) |
|  | Fax (recent) |
| 6. Name of the person authorized to deal / undertake business for and on behalf of the bidder |  |
|  | Tel. No & Mobile No. (Recent) |
|  | Fax (Recent) |
|  | E-Mail (Recent) |
| 7. Legal entity of the bidder whether Firm / Society / Company / Other entity |  |
| a. Registration No. | b. Authority with whom registered |
| c. Licence No. granted by for |
| 8. Main business of the bidder whether Manufacturer, Business Distributor, Wholesale Dealer, Retail trader or Service Agent |  |
| 9. Authorized Area of operation in India |  |
| 10. Name of the Principal Organization / Company for and on behalf working in India |  |
| 11. Origin of the Principal Organization / Company |  |
| 12. Address of the Principal Organization / Company |  |
|  | Tel. No. & Mobile No. |
|  | Fax |
|  | E-Mail |
| 13. Name & Address of the Bankers of the bidders. |  |
| 14. Authority / Delegation / Licence No. & Date granted by the principal to the representative bidder |  |
| 15. PAN No. TAN No. |  |
| 16. Registration No. granted by Central Excise Commissioner for Service tax |  |
| 17. CST No. / VAT No. / ST No. |  |
| 18. Central Excise License No. |  |
| 19. Import / Export Code No. |  |
| License No. for import |  |
| 20. No. of manpower employed by the bidder | a. Scientific b. Technical |
|  | c. Administrative d. Finance |
| 21. Support facility equipment No. |  |
| 22. Experience of the bidder in dealing with the tendered item. Tenderer must have similar job done in the line of business / experience with 3 to 5 years will be considered |  |
| 23. Whether supply of any item / service to TMC in past; if yes indicate the Purchase Order No. & Date |  |
| 24. Any other relevant information for submission |  |

Certified that the above information is correct & true to the best of my knowledge and belief.  Nothing has been concealed and fabricated and in case any information is found incorrect.  I, the under signatory will be personally responsible.

# Signature                                                            			                                 Name of authorized person for bidder with seal

# TATA MEMORIAL HOSPITAL

# TATA MEMORIAL CENTRE

DR ERNEST BORGES MARG

PAREL, MUMBAI 400 012

# COMMERCIAL OFFER / PRICE BID

Name of the equipment:

Total cost of ownership for a period of Seven Years.

Following points shall be considered for arriving the lowest quoted bidder amongst the technically acceptable offers. :

- To compare bids which are quoted with import and in INR, the CIF/DDU Sangrur, Punjab and CIF/DDU Visakhapatnam values shall be considered and conversion factor at the beginning of the month when the financial bids are opened will be considered. To compare with INR quote the value after tax without octroi shall be considered.

- The total cost of equipment shall be calculated as under:

CIF Value (converted in INR with exchange rate at the beginning of the month of opening of financial bids) / Cost after tax without octroi in case of INR quote + 2 years warranty + 5 Years free services.

- Bidders are advised to submit price bid in the enclosed prescribed format.

- If warranty and free AMC are not mentioned, TMC reserve the right to disqualify the offer.

# Serial # 9

# TATA MEMORIAL HOSPITAL

# TATA MEMORIAL CENTRE

DR ERNEST BORGES MARG

PAREL, MUMBAI 400 012

# COMMERCIAL OFFER / PRICE BID

Name of the equipment:

Name of the item/equipment/ service (complete in all respect i.e. Basic equipment with necessary accessories and consumables):________________________________________

| Sr. No. | Particulars | Amount |
| --- | --- | --- |
|  | Ex-works cost of the complete item with 2 years of warranty |  |
|  | Add : Inland handling, Packing and forwarding charges upto the Port of shipment/boarding |  |
|  | Total FOB cost |  |
|  | Freight charges with mode of transport from manufacturer’s godown to place of installation if any |  |
|  | Insurance charges covering all risk in transit from manufacturer’s godown to place of installation |  |
|  | Total CIF value / cost |  |
|  | Cost of optional accessories (if any) to be quoted separately. |  |
|  | Shifting charges from the place of off-loading on the other place to the place of installation, if any |  |
|  | Unpacking, Installation, testing & Commissioning charges – startup , trial etc, if any |  |
|  | Annual Maintenance charges for the period of 5 years payable periodically (in Indian Rupees) after warranty (the vendor to mention exclusion if any) |  |
|  | Percentage of discount offered on the price / cost of the spare parts – optional accessories during the warranty and maintenance period of 8 years. (enclose company price list duly signed and attested) |  |
|  | Percentage of discount offered on the price / cost of the consumables to be supplied during the warranty and maintenance period of 8 years. (enclose company price list duly signed and attested) |  |
| 13. | Specify other charges, if any |  |

Certified that the above information is correct & true to the best of my knowledge and belief.  In case any information is legal suppressed, and /or found false and incorrect, the under signatory will be personally responsible for the consequences, and that the tender is liable to be rejected summarily without assigning any reason.

# Signature

# Name of authorized person for bidder with seal

# Date: